DRAFT

North Carolina Transmission Planning Collaborative

Oversight / Steering Committee (OSC)

Meeting Minutes

January 5, 2006

ElectriCities Office – Raleigh, NC

10:00 AM EPT

Attendees:

Clay Norris, Chair						ElectriCities

Art Hubert							ElectriCities

Janice Carney						ElectriCities

Andy Fusco							ElectriCities

Denise Roeder						ElectriCities

Frank Gaffney						ElectriCities

Mark Byrd							Progress Energy

Verne Ingersoll						Progress Energy

Nina McLaurin 						Progress Energy

Bryan Guy							Progress Energy

Bob Pierce							Duke Power

John Dalton							Duke Power

David Beam							NCEMC

Charles Askey						Cooperatives

Rich Wodyka							Gestalt

Pam Kozlowski (phone)					Gestalt

- ADMINISTRATIVE

  - The OSC Chair called the meeting to order at 10:10 am.  Mr. Norris requested revisions or additions to the published agenda.  Mr. Norris requested that we move the PWG Summary Compare and Contrast document to the Planning Criteria discussion.  No other revisions were made.

  - Meeting Minutes

    - The Committee reviewed the minutes from the December 9, 2005 OSC meeting.   Mr. Beam made a motion to approve the December 9, 2005 minutes as written, and Mr. Dalton seconded the motion.  In a unanimous voice vote, the December 9, 2005 minutes were approved.

  - Meeting Highlights

    - The Committee reviewed the meeting highlights from the November 2, 2005 and December 9, 2005 OSC meetings.   Mr. Beam made a motion to approve the November 2, 2005 and December 9, 2005 highlights as written, and Mr. Byrd seconded the motion.  In a unanimous voice vote, the November 2, 2005 and December 9, 2005 meeting highlights were approved.

- PWG SUMMARY RELIATBILITY PLAN COMPARE AND CONTRAST DOCUMENT

There was much discussion regarding the difference between the Duke and PEC methodologies for generation resources included in the base model.  Duke includes in their base case what is submitted by the LSEs in their 10 year load resource plan.  PEC only includes resources with contracts in their 10 year base case and assumes roll-over of those resources with the current supplier.  Based on the discussion from the previous meeting, there was an understanding by EC and NCEMC that PEC had agreed to change their methodology to the methodology that Duke utilizes.  PEC stated that because of their transmission constraint situation, any additional resource added to their base case would require new transmission construction or would result in reliability violations therefore it is not possible for PEC to change their base case methodology to that of Duke.  PEC has agreed to look at moving resources or adding new resources but those resources will not be included in the base case reliability plan.  It was stated that either methodology would give the participants information as to what impact alternative resources would have on the transmission systems.  Revisions were made to the Compare and Contrast summary to reflect no changes in the 2006 planning methodologies however there will be additional study for potential changes for the 2007 plan.

- PLANNING CRITERIA AND ASSUMPTIONS DISCUSSION

There was discussion concerning the differences between CBM and TRM and how each is used in the southeast and throughout the remainder of the country.  According to Duke, NERC has defined reserve sharing, like the VACAR agreement, as TRM; however it is believed that other areas of the country use CBM for some reserve sharing requirements.  The difference appears to be based on how quickly reserves are required to be provided.

- PWG RELIABILITY SCOPE DOCUMENT

Reviewed history of document and discussed purpose of document.  Determined that document would be a dynamic work plan for PWG use.

- PWG PROCESS PLANS AND ACTIVITIES DOCUMENT

Discussed and revised assignment due dates.  PWG to furnish OSC format document for submitting resource options.

- PROCESS DOCUMENT REVIEW

(North Carolina Transmission Planning Collaborative Process - NCTPCP)

Discussed and revised document.  Ms. Carney to revise and post on website as working document.  Ms. Carney will post due-date for comments when document is posted.

- GESTALT

  - Set TAG meeting date for February 3, 2006 at the ElectriCities office

  - Reviewed and revised TAG meeting agenda and identified speakers

The meeting was adjourned at 2:05 pm