North Carolina Transmission Planning Collaborative

Oversight / Steering Committee (OSC)

Meeting Minutes

April 27, 2006

Charlotte, NC

10:00 AM EPT

Attendees:

Clay Norris, Chair						ElectriCities

Art Hubert							ElectriCities

Janice Carney						ElectriCities

Andy Fusco							ElectriCities

Frank Gaffney						ElectriCities

Mark Byrd							Progress Energy

Brian Guy							Progress Energy

Verne Ingersoll						Progress Energy

Nina McLaurin 						Progress Energy

Ed Ernst							Duke Power

Chris Fallon							Duke Power

David Beam							NCEMC (phone)

Charles Askey						NCEMC (phone)

Rich Wodyka							Gestalt

Pam Kozlowski						Gestalt

- ADMINISTRATIVE

  - The OSC Chair called the meeting to order at 10:00 am.  Mr. Ernst reviewed the Duke Power emergency and evacuation plan with the group.  Mr. Norris requested revisions or additions to the published agenda.  None were made.

  - Meeting Minutes and Highlights

The Committee reviewed the draft minutes and highlights from the March 30, 2006 OSC meeting.   Ms. McLaurin requested revisions to both the minutes and highlights.  Mr. Ernst made a motion to approve as revised and Mr. Byrd seconded the motion.  In a unanimous voice vote, the March 30, 2006 minutes and highlights were approved as revised.

- PWG STATUS REPORT

  - Reliability Study Update

Mr. Guy reviewed the document entitled Status of 2011 Summer NCTPC Reliability Study.  The studies showed that there were revisions to existing plans that resulted from the combined study however the combined studies also show that in general, PEC and Duke have projects in their plans to address reliability issues in 2011.  All participants stated that the new process is producing improvements to the traditional process simply by having the LSE stakeholders at the table.  It was decided that although the Richmond/Newport line is not a reliability problem in 2011, it is worthy of a study to determine solutions for the phase angle problem due to the long lead time requirements of some likely alternatives.  The OSC has requested that the PWG produce a brief summary on each major problem identified and include in the summary: problem identified, solutions considered, solution recommended and justification for recommendation.

  - PWG Meeting with NCUC Staff  and Public Staff Participation

The PWG will be meeting with Public Staff and NCUC staff on May 12, 2006 at the ElectriCities office to discuss the process to date and address any questions.  The PWG members reviewed the proposed presentation with the OSC.

- TRANSMISSION COST ALLOCATION

Mr. Wodyka and Ms. Kozlowski reviewed a high-level summary of transmission cost allocation methodologies that are being implemented or proposed in various areas of the country.

The meeting was adjourned at 2:20 pm.