NCTPC Guidelines for Including Base Case Resources

- The LSEs will provide base case generation resource assumptions (“LSE Resources”) from their respective resource planning processes for inclusion in the base case transmission plan.

- LSE Resources will be included in the base case transmission plan if the OSC, upon recommendation from the PWG, determines that the resultant transmission facilities necessary to support the LSE Resources are not unreasonable  (i.e., the facilities would not require an unrealistic, disproportionate, and/or immediate investment in transmission assets).

- If inclusion of an LSE Resource in the base case transmission plan results in significant (as determined by the OSC) facility upgrades and costs, one of two situations may result:

  - When the facility upgrades require immediate initiation of significant funding and construction activity, the LSE must either: a) provide a formal commitment by identifying the resource and submitting an OASIS request; or b) withdraw its request.

  - When the facility upgrades do not require immediate initiation of significant funding and construction activity, the OSC may allow the LSE Resource to remain in the base transmission plan with no further LSE action until such time when initiation of transmission facility construction and funding is required.  At which point, the LSE must: a) provide a formal commitment by identifying the resource and submitting an OASIS request; or b) withdraw the request.

Once an LSE has submitted an OASIS request for an LSE Resource, that resource shall be included in the base transmission plan.

- Once the LSE Resource is part of the base case transmission plan, its associated study costs and investment will be included in the total cost of the transmission plan and shared by all stakeholders (i.e., ‘rolled-in’).