PWG Update to OSC

January 23, 2007

Accomplishments/Activities:

- 2007 Study Scope and Work Plan

  - Finalized the 2007 Study Scope, recognizing the fact that Transmission Service Requests received or having a change of status after the 2007 study is started may impact the scope of the study.

  - Updated 2007 Work Plan.

  - Both documents provided to OSC for its January 25th meeting.

- Comparison of Planning Study Assumptions / Criteria / Methodology.

  - Recommendation to the OSC that no changes be made to the 2007 study assumptions / criteria / methodology.

  - Plan to investigate / provide education on the following items during this year’s study process as input to evaluate potential changes to the 2008 study assumptions:

    - Transmission Reliability Margin

    - Transformer emergency ratings

Work in Progress/Planned to be Complete for February 15th PWG Meeting:

- 2007 Case Development

  - Participants review and/or provide load forecasts, base case DNR assumptions, dispatch order of DNRs, resource supply options and interchange for the 2007 study.

  - At February 15th PWG meeting, discuss and make recommendations regarding:

    - which upgrades from the 2006 Collaborative Transmission Plan will be included in the models for the 2007 study; and

    - whether there is enough generation in 2012 and 2016; and if not, what assumptions should be made about modeling future or dummy generation.

- 2006 Supplemental Study

  - Complete analysis, provide results for the potential solution sets identified at the 1/17 PWG meeting and compare to the base case results and the 600 MW Duke to PEC resource supply option scenario results.

  - Draft outline of 2006 supplemental study report.

- Enhanced Transmission Access Scenarios

  - Receive input and direction from OSC related to TAG requests for enhanced transmission access scenarios.

  - At February 15th PWG meeting, update the 2007 Study Scope, if necessary.

Open Issues

- Questions for OSC

  - How should energy resources such as Yadkin or wind be dispatched is the 2007 study?

  - How should systems that impact NCTPC transmission such as Yadkin, with their hydro, and Santee Cooper, with their proposed coal generation, be handled?