NCTPC Guidelines for Including Base Case Resources

- The LSEs will provide base case generation resource assumptions (“LSE Resources”) from their respective resource planning processes for inclusion in the base case transmission plan.

- LSE Resources will be included in the base case transmission plan if the OSC, upon recommendation from the PWG, 1)determines that the resultant transmission facilities necessary to support the LSE Resources are not unreasonable  (i.e., the facilities would not require an unrealistic, disproportionate, and/or immediate investment in transmission assets), 2) determines that the resource is does not conflict with rollover-rights, and 3) determines that the resource does not duplicate other resource assumptions..

- If inclusion of an LSE Resource in the base case transmission plan results in significant (as determined by the OSC) facility upgrades and costs, one of two situations may result:

  - When the facility upgrades require immediate initiation of significant funding and construction activity, the LSE must either: a) provide a formal commitment by identifying the resource and submitting an OATT request for designation as a network resource; or b) withdraw its request.

  - When the facility upgrades do not require immediate initiation of significant funding and construction activity, the OSC may allow the LSE Resource to remain in the base transmission plan with no further LSE action until such time when initiation of transmission facility engineering, design or construction is required.  At which point, the LSE must: a) provide a formal commitment by identifying the resource and submitting an OATT request for designation as a network resource; or b) withdraw the request.

- If the resource assumption conflicts with rollover rights of a resource, the rollover rights conflict must be addressed prior to inclusion of the resource.

- If the resource duplicates a resource, the conflict must be addressed prior to inclusion of the resource.

- It is acceptable upon request of an LSE  or the OSC  to include a nonspecific resource assumption intended to avoid creating the need for transmission improvements that may not otherwise be required or to prevent masking of transmission improvements that may otherwise be required.