Guidelines for Including LSE Resources in the NCTPC Base Case Planning Models

- As part of the annual planning process, all LSEs will provide base case generation resource assumptions (“LSE Resources”) from their respective resource planning processes for inclusion in the NCTPC base case transmission planning models.

- LSE Resources are included in the NCTPC base case transmission planning models if and when:

  - the LSE Resource is an existing resource, or

  - an OASIS request for the LSE Resource has been made and approved by the transmission service provider and confirmed by the LSE.

- Any proposed LSE Resource that does not meet the requirements of 2a or 2b above will be included in the NCTPC base case models if and when:

  - the proposed LSE Resource is intended to replace another existing resource, all issues regarding rollover rights of the other resource are resolved, any potential duplication of resources to serve the same load are addressed; and

  - the inclusion of the proposed LSE Resource is determined to be realistic (i.e., the facilities are feasible and would not likely require disproportionate transmission costs and/or immediate investment in transmission assets) as decided by the OSC.

- Once the technical analysis is completed, one of two situations would apply:

  - If the study results indicate that the inclusion of a proposed LSE Resource in the NCTPC  base case models does result in disproportionate transmission costs and/or immediate investment in transmission as decided by the OSC, then the LSE must either:

    - provide a formal commitment by identifying the resource and submitting an OASIS request for designation as a network resource; or

    - develop an alternate LSE Resource for inclusion in the next planning study.

  - If the study results indicate that the inclusion of a proposed LSE Resource in the NCTPC base case models does not result in disproportionate transmission costs and/or immediate investment in transmission as decided by the OSC, then the proposed LSE Resource would remain in the NCTPC base transmission planning models until such time when the transmission owner notifies the LSE that the initiation of transmission facility engineering, design or construction is scheduled to begin. At that point, the LSE must either:

    - provide a formal commitment by identifying the resource and submitting an OASIS request for designation as a network resource; or

    - develop an alternate LSE Resource for inclusion in the next planning study.