PWG Update to OSC

June 19, 2007

NCTPC Update on Major Projects

- PWG has prepared a draft update for review by the OSC at the June meeting.

- Discuss with the OSC whether the update or a revised form of the update should be:

  - Posted on the NCTPC public website

  - Presented / distributed to the TAG

2007 Study

- Based on the results and technical analysis from screenings of 2012 and 2016 reliability base cases and 2016 resource supply options cases, PWG identified a limited number of problems as compared with the 2006 Study.

- PWG brainstormed potential solutions to these problems at its June meeting.  For the July PWG meeting,

  - Duke and Progress will investigate and test these solutions; and

  - Progress will verify that existing operating procedures identified as potential solutions accomplish the desired results.

- Based on new information concerning recent confirmation of transmission service requests, PWG recommends to the OSC that an additional resource supply option case be developed and screened, 1,200 MW import from Duke to Progress East.  There should be minimal impact on the schedule in the work plan.

Yadkin

- Based on the results and technical analysis from screenings of 2012 and 2016 reliability base cases and 2016 resource supply options cases, PWG confirmed problems, which have been identified in previous studies, on the Yadkin system.

- PWG has developed a draft request for transmission planning information from Yadkin for review by the OSC.

- PWG requests guidance from the OSC regarding next steps with Yadkin.

Order 890 Information Posting Requirements

    - Discuss with the OSC documentation and information that should be posted on the NCTPC public website to meet the 890 information posting requirements.

Guidelines for Including LSE Resources in the NCTPC Base Case Planning Models

- The PWG reviewed the guidelines and flow chart at its June 14th meeting and discussed some additional clarifications.  The PWG will provide the guidelines and flow chart to the OSC for review and approval at its July meeting.

2008 Study Assumptions

- PWG continuing to evaluate potential changes to study assumptions for the 2008 study.