## Transmission Cost Allocation requirements of order No. 890

In Order No. 890, Preventing Undue Discrimination and Preference in Transmission Service, the Federal Energy Regulatory Commission (Commission or FERC) specified  the following for guidance regarding Transmission Cost Allocation:

- Transmission Providers must develop cost allocation principles that apply to regional projects that do not fit under existing OATT cost allocation structures.

- Each regional transmission planning process can develop its own cost allocation criteria and solution as long as it follows these three general principles:

  - Fairly assigns costs to those who caused the problem as well as to those who will benefit from the solution.

  - Provide adequate incentives to the Transmission Providers to construct.

  - Generally supported by the states and participants across the planning region.

- Each planning process must address the cost allocation principle upfront.

II.	COST ALLOCATION STRAWMAN PROPOSAL

Duke and Progress, working with the other NCTPC participants, have developed a cost allocation proposal. Specifically, this cost allocation proposal includes the following types of transmission related projects:

- Generation Interconnection Projects  				               These projects include transmission facilities required to reliably connect a new generating  plant to the transmission network

- Reliability Projects 								   These projects include transmission facilities required for maintaining system reliability to serve native load and to provide firm transmission service for the delivery of capacity and energy from designated Network Resources to service its Network Loads

- Economic Enhancement Projects 						   These projects include transmission facilities for improving economic power transfers

For the NCTPC activities and the associated cost allocation discussion below, the definition of transmission system includes all those facilities at or above 230 kV.

Generation Interconnection Project Cost Allocation

Generation interconnection projects are those transmission facilities required to reliably connect a new generating  plant into the transmission system and reliably dispatch its output into the network. For these projects the associated transmission costs for attachment facilities and /or network facility upgrades are allocated to the generation developer in accordance with the latest FERC approved Open Access Transmission Tariff (Tariff) requirements for either Duke or Progress depending on the location of the generator connecting to the transmission system.

For all attachment facilities required for a direct connection to the transmission system, the transmission costs are allocated directly to generation developer. In exchange for reimbursing the Transmission Provider the attachment facilities costs, the generation developer receives transmission service credits.

For generation interconnection projects, that require transmission network upgrades to reliably connect and dispatch the generation into the transmission system, those costs are allocated on a “but for” basis in accordance with the approved Tariff. If multiple generation development projects collectively cause the need for network upgrades then those costs are fairly allocated among multiple generation developers. [DISCUSSION ITEM - What is the Duke / Progress current process and /or technical methodology for this cost allocation among generation developers?] In exchange for reimbursing the Transmission Provider the network facilities costs the generation developer receives transmission service credits.

Reliability Project Cost Allocation

It is each transmission owner’s responsibility to plan and operate a reliable transmission system in accordance with NERC and its applicable regional reliability standards. These projects include transmission facilities required for maintaining system reliability to serve native load and to provide firm transmission service for the delivery of capacity and energy from designated Network Resources to service its Network Loads

- The transmission system is a complex system where each transmission owner’s system reliability is also dependent upon its neighboring transmission system. In recognition of this interdependence, reliability issues affecting one transmission system may require transmission upgrades on an adjacent transmission system. In addition, the reliability needs of a transmission system will change over time as a result of serving native load growth and providing long-term firm transmission services. As transmission use increases, more transmission facilities are needed to maintain reliability.

For individual transmission projects that are required to maintain system reliability within a transmission owner’s own service territory, the Transmission Provider is responsible for incurring those transmission costs and recovering its transmission revenue requirements under its existing rate structures. Typically these transmission costs are allocated to all users of the transmission system through these rate structures. If a transmission reliability project involves more than one Transmission Provider as a result of the nature of the reliability project (transmission flows into, out of or through a system) then the costs should be fairly allocated among the affected Transmission Providers based on a good faith negotiation of the parties involved. [DISCUSSION ITEM - How would a reliability project work if the project was an upgrade totally inside one Transmission Owner’s system and the benefit was primarily on a neighboring Transmission Owner’s system?] The resulting transmission costs and the associated revenue requirements of each Transmission Provider will be recovered through their respective existing rate structures at the time. In the event that the affected Transmission Providers are unable to reach a negotiated solution then the parties will utilize the Commission’s Dispute Resolution Service to settle any related issues. [DISCUSSION ITEM - Do we want something more detailed for dispute resolution?]

Economic Enhancement Project Cost Allocation

When generation prices are less expensive in one system than in a neighboring system this creates the opportunity for economic power transfers. Economic power flows across a transmission system which can cause transmission congestion and restrict load serving entities from receiving economic power. This in turn results in increased production costs for the load serving entities. Transmission investment to facilitate these economic transfers based on reducing a load serving entities’ production costs may be economically justified. Any individual party (load serving entity, independent power producer, or marketer) or group of interested parties can request transmission service that would result in the transmission system being upgraded to improve economic power transfers into, out of or through the system. The requestor (individual party or group of interested parties) would pay for the transmission system upgrades based on the existing Commission policy at the time. The current Commission policy allows Transmission Providers to charge the higher of embedded cost or incremental cost. In exchange for reimbursing the Transmission Provider the associated transmission costs the requestor receives the requested transmission service.

As part of the NCTPC Process, study results may identify transmission upgrades that facilitate economic power transfers. These transmission upgrades may result from resource supply option analysis or economic enhancement studies that were performed at the request of a NCTPC Participant or a TAG member. The OSC would evaluate the results and determine if these upgrades should be included in the Collaborative Plan. [DISCUSSION ITEM – Do these costs get rolled into the Transmission Owners rates or would there be some allocation of the costs?]   If OSC does not approve the project, then it would take an OATT request for transmission service to move the project forward.

For a transmission project that improves economic power transfers into, out of, or through a larger region and involves more than one transmission system, the transmission costs will again be allocated directly to the requestor of the project based on the Commission policy at the time. In exchange for reimbursing the individual Transmission Provider(s) their associated transmission costs the requestor receives the requested transmission service.

Other Discussion Items

- NCTPC Process criteria for determining if transmission upgrades that facilitate economic power transfers should be included in the Collaborative Plan..

- Gross transmission cost (Actual) versus Net transmission cost (Acceleration)

- Joint Ownership of new transmission facilities – capital funding of transmission

- Regional project - cost threshold

- Involvement of neighboring transmission systems

- Multiple transmission owners project – Need to define technical method to define cost allocation share or use a simple load ratio share which could be based on just transmission owners or all load serving entities with the transmission owners service territory.

- Long term rights (if any) from participating in a project.