North Carolina Transmission Planning Collaborative

Oversight / Steering Committee (OSC)

Meeting Minutes

January 16, 2008

Charlotte, NC

10:00 am EPT

Attendees

Ed Ernst, Chair							Duke Energy

Bob Pierce								Duke Energy

Janice Hager								Duke Energy

Clay Norris								ElectriCities

Andy Fusco								ElectriCities

Rich Wodyka 							Gestalt/Accenture

Pam Kozlowski (via phone)						Gestalt/Accenture

Nina McLaurin							Progress Energy

Kendall Bowman (via phone)					Progress Energy

Diane Huis						NCEMC

Bob Beadle						NCEMC

Administrative

- The December 13, 2008 OSC Meeting Minutes and Highlights were approved with editorial changes.

- The NCTPC Participants’ Agreement is being routed for signatures.  Progress will be the last company to sign and will bring signed copies to the February OSC meeting.

OSC Items

- TAG confidentiality agreement

This agreement is needed so that a TAG voting member can request data to “replicate studies”.  The agreement will be finalized by the February OSC meeting after all parties have a chance to review and to provide any changes to Mr. Ernst.

- Reliability coordination with adjacent systems/planning processes

Mr. Wodyka provided summary of related FERC Order 890 requirements and led discussion. Order 890 requires the Transmission Providers (Duke and PEC) to ensure there is sufficient coordination in planning with neighboring TPs and customers.  The reliability assessment aspects are covered by SERC, NERC and VACAR assessment studies, and there is an economic study process with the new SIRPP; however, there is room for improvement in the actual planning aspect.  The OSC discussed whether this was a role of Duke and PEC as the TPs, or whether this was a role of the NCTPC.   The OSC agreed that for now, Duke and PEC need to pursue this with adjacent systems (including PJM, TVA, Southern, SCEG, Santee and Yadkin) and will incorporate what is learned into the NCTPC studies as appropriate.  There would be three main focus areas:

- sharing of models, system data, processes and assumptions

  - sharing of screening results and thoughts on preliminary solutions to identified problems

  - sharing annual plan results

Mr. Wodyka will make contact with PJM, to propose a Duke, PEC, and PJM discussion.  Pursuit of discussions with Southern, TVA, Santee, SCEG and Yadkin will follow.

- Yadkin actions/coordination

Yadkin continues to show interest in some level of NCTPC involvement beyond being a TAG member.  The OSC believes that the best initial position is to focus on Duke, PEC and Yadkin pursuing the process outlined above, as opposed to bringing Yadkin into the NCTPC as an OSC and PWG member.  The OSC will give further consideration to modification of the NCTPC agreement to allow Transmission Owners/Operators and LSEs to participate in the NCTPC—this change could allow Yadkin to join.  If Yadkin were to join, the fee schedule and voting arrangements would have to be adjusted.

- Duke IRP update (Progress deferred to February OSC meeting)

Ms. Hager reviewed Duke’s recently filed IRP along with a summary of the development process and action plan.

PWG Update

- 2007 Collaborative Transmission Plan report/Press Release

The 2007 Collaborative Transmission Plan report was approved by the OSC.  Mr. Wodyka reviewed a press release announcing the Plan.  He will work with the NCTPC companies to make the release, along with an abbreviated Gestalt/Accenture release.

- Status of 2008 Supplemental Study

Progress Energy western import study is in progress.  The preliminary results will be compiled in early March with a finalized report for the OSC targeted in late March.

- Draft 2008 Study Scope

The study scope will include two wind generation scenarios this year.  One will be based on the results of the La Capra study (adjusted for capacity at peak) and will site wind in the North Carolina mountains and coast.  The other will be based on importing the full RPS requirements from the Midwest.  Ms. Hager will provide a MW amount prior to the February PWG meeting and the load ratio share will be applied.  Sensitivities will include potential impacts of the draft TPL standards, Progress’s revised transformer ratings and new TRM methodology.  The OSC has agreed to the scope and it will now be provided to the TAG for their input.  Mr. Wodyka and Ms. Kozlowski will update the study scope to include input from the TAG as described in the TAG Scope.

- Draft 2008 Work Plan and Schedule

The OSC reviewed the plan and schedule.  Another TAG meeting may be needed in June to update them on the technical activities accomplished by that time.  Mr. Wodyka will make the appropriate updates and will distribute the 2008 Work Plan (TAG portion only) and Study Scope to the TAG.

- Draft Scope of Cost Estimate Assignment

This is currently being drafted and will be provided to the OSC prior to the February OSC meeting.

Future Meeting Schedule

| Date | Day | Time | Location |
| --- | --- | --- | --- |
| February 13, 2008 | Wednesday | 10 am – 2 pm | Raleigh (NCEMC) |
| March 12, 2008 | Wednesday | 10 am – 2 pm | Raleigh |
| April 15, 2008 | Tuesday | 10 am – 2 pm | Charlotte |
| May 14, 2008 | Wednesday | 10 am – 2 pm | Raleigh |
| June 11, 2008 | Wednesday | 10 am – 2 pm | Raleigh |
| July 17, 2008 | Thursday | 10 am – 2 pm | Charlotte |
| August 14, 2008 | Thursday | 10 am – 2 pm | Raleigh |
| September 18, 2008 | Thursday | 10 am – 2 pm | Raleigh |
| October 15, 2008 | Wednesday | 10 am – 2 pm | Charlotte |
| November 13, 2008 | Thursday | 10 am – 2 pm | Raleigh |
| December 16, 2008 | Tuesday | 10 am – 2 pm | Raleigh |