North Carolina Transmission Planning Collaborative

Oversight / Steering Committee (OSC)

Meeting Highlights

January 16, 2008

Charlotte, NC

10:00 am EPT

Attendees

Ed Ernst, Chair							Duke Energy

Bob Pierce								Duke Energy

Janice Hager								Duke Energy

Clay Norris								ElectriCities

Andy Fusco								ElectriCities

Rich Wodyka 							Gestalt/Accenture

Pam Kozlowski (via phone)						Gestalt/Accenture

Nina McLaurin							Progress Energy

Kendall Bowman (via phone)					Progress Energy

Diane Huis						NCEMC

Bob Beadle						NCEMC

Administrative

- The December 13, 2008 OSC Meeting Minutes and Highlights were approved with editorial changes.

- The NCTPC Participants’ Agreement is being routed for signatures.

OSC Items

- TAG confidentiality agreement

This agreement is needed so that a TAG voting member can request data to “replicate studies”.  The agreement will be finalized by the February OSC meeting after all parties have a chance to review and to provide any changes to Mr. Ernst.

- Reliability coordination with adjacent systems/planning processes

Mr. Wodyka provided summary of related FERC Order 890 requirements and led discussion. Order 890 requires the Transmission Providers (Duke and PEC) to ensure there is sufficient coordination in planning with neighboring TPs and customers.  The reliability assessment aspects and economic assessment aspects are covered; however, there is room for improvement in the actual planning aspect.   The OSC agreed that for now, Duke and PEC need to pursue this with adjacent systems.

- Duke IRP review

Ms. Hager reviewed Duke’s recently filed IRP along with a summary of the development process and action plan.

PWG Update

- 2007 Collaborative Transmission Plan report/Press Release

The 2007 Collaborative Transmission Plan report was approved by the OSC.  Mr. Wodyka reviewed a press release announcing the Plan.

- Status of 2008 Supplemental Study

Progress Energy western import study is in progress.  The preliminary results will be compiled in early March with a finalized report for the OSC targeted in late March.

- Draft 2008 Study Scope

The draft study scope was discussed.  The study will include sensitivities addressing wind generation, potential impacts of the draft TPL standards, Progress’s revised transformer ratings and new TRM methodology.  The OSC has agreed to the scope and it will now be provided to the TAG for their input.  Ms. Kozlowski will update the study scope to include the need for TAG comments on the scope.

- Draft 2008 Work Plan and Schedule

The OSC reviewed the plan and schedule.  Mr. Wodyka will make the appropriate updates and will present the 2008 Work Plan and Study Scope to the TAG.