North Carolina Transmission Planning Collaborative

Oversight / Steering Committee (OSC)

Meeting Minutes

February 19, 2007

Telecon

1:00 pm EPT

Attendees

Ed Ernst, Chair							Duke Energy

Janice Hager								Duke Energy

Laura Lee								Duke Energy

Clay Norris								ElectriCities

Andy Fusco								ElectriCities

Rich Wodyka 							Gestalt/Accenture

Pam Kozlowski (via phone)						Gestalt/Accenture

Mark Byrd								Progress Energy

Sam Waters								Progress Energy

Nina McLaurin							Progress Energy

Bob Beadle						NCEMC

David Beam						NCEMC

Administrative

- The January 16, 2008 OSC Meeting Minutes & Highlights were approved.

- All signatories now have signed copies of the NCTPC Participants’ Agreement.  The effective date is Feb. 11, 2008.  It will be posted on the NCTPC website.

OSC Items

- TAG Confidentiality Agreement has been complete and posted on the NCTPC website.  There is an action item for the PWG to bring a proposal on how to respond to data requests from the TAG to the OSC.

- Reliability coordination with adjacent systems/planning processes.  Mr. Wodyka facilitated a call between Duke, PJM and Progress to talk about how seams coordination can be accomplished.  PJM is interested in something similar to what was discussed in the January OSC meeting (sharing inputs and assumptions, study results, and resolutions).  Mr. Ernst is drafting an agreement between the three parties.  There was discussion about data sharing issues with other participants in the NCTPC (ElectriCities and NCEMC) – this will need to be worked through.  Duke had a meeting with Yadkin a few weeks ago at Yadkin’s request.  One topic was enhanced planning with Duke and Progress.  Mr. Ernst proposed something similar to what is being proposed to PJM.  Mr. Ernst is expecting a response to his proposal within the next couple of weeks.  Duke and Progress plan to move on to discussions with other neighbors after coordination with PJM is further along.

- Progress IRP review – Mr. Waters presented a review of the currently filed Progress Integrated Resource Plan.  In addition, an announcement has been made that a Combined Operating License Application has been filed with the NRC for Harris 3 and 4.  These resources were referred to as “undesignated baseload” in 2018 and 2019 on the presentation.

- April SIRPP meeting – See www.southeastirpp.com website for sign-up.  There is also a link on the NCTPC site.  The first stakeholder meeting is scheduled for April 3rd in Charlotte.  Details and agenda will be posted on the website.  Mr. Ernst proposed sending an e-mail to the TAG reminding them of the new process and pointing them to the website.

PWG Update

- 2007 Supplemental Study – The study is about a month behind due to questions around facility ratings and the need to look at common tower outages, dispatch options and the results of the Duke upgrades on the Progress West area.  Three possible solutions have been identified.  The work plan that is posted contains the adjusted schedule.  The report is scheduled to be presented at the April OSC meeting.

- 2008 Study Scope and TAG Work Plan – Mr. Wodyka received approval to send this to the TAG for review and comment.

- 2008 Study Status – Base resource plans are being tabulated and wind assumptions are being finalized.  The proposal is a) 1000 MW at 32% capacity factor in the mountains plus 500 MW at 32% capacity factor at the coast for a total of 500 MW at peak and b) a bounding import of 3500 MW from the Midwest to Duke and Progress.  The OSC didn’t identify much value in the import study and would prefer to focus on Carolinas generation.  The OSC specified a “realistic worst case” of 500 MW in mountains and 250 MW at coast on peak (with no capacity factor discounting).

- Provision of data to TAG members – Action item for Duke and Progress to present a proposal to the PWG at the March meeting.

- The Nominal Cost Methodology report is in progress.

- An action item was developed for the PWG to propose when other reliability studies (such as VACAR) can be presented to the TAG.

The meeting was adjourned at 2:45 pm.  The next meeting has been changed to Monday, 3/17/2008, and will be hosted by NCEMC in Raleigh.

Future Meeting Schedule

| Date | Day | Time | Location |
| --- | --- | --- | --- |
| March 17, 2008 | Monday | 10 am – 2 pm | Raleigh |
| April 15, 2008 | Tuesday | 10 am – 2 pm | Charlotte |
| May 14, 2008 | Wednesday | 10 am – 2 pm | Raleigh |
| June 11, 2008 | Wednesday | 10 am – 2 pm | Raleigh |
| July 17, 2008 | Thursday | 10 am – 2 pm | Charlotte |
| August 14, 2008 | Thursday | 10 am – 2 pm | Raleigh |
| September 18, 2008 | Thursday | 10 am – 2 pm | Raleigh |
| October 15, 2008 | Wednesday | 10 am – 2 pm | Charlotte |
| November 13, 2008 | Thursday | 10 am – 2 pm | Raleigh |
| December 16, 2008 | Tuesday | 10 am – 2 pm | Raleigh |