North Carolina Transmission Planning Collaborative

Oversight / Steering Committee (OSC)

Meeting Minutes

February 23, 2010

Teleconference

10:00 am EPT

David Beam, Chair 							NCEMC

Ed Ernst								Duke Energy

Bob Pierce								Duke Energy

Greg Locke								ElectriCities

Roy Jones								ElectriCities

Sam Waters								Progress Energy

Mark Byrd								Progress Energy

Rich Wodyka 							Accenture

Administrative

- The January 19, 2010 OSC Meeting Minutes and Highlights were approved.

OSC Items

Joint Planning Status

- Ed Ernst reported that the EIPC Executive and Technical Committees will be meeting in January to develop a scope of work and schedule for the initial EIPC study activities.  Ed will report back to the OSC on the EIPC activities at the next OSC meeting. Updated information on the EIPC activities can be found on the website (www.eipconline.com). Sam Waters reported that he recently spoke with Kim Jones, NC Commission staff, regarding the formation of the Regulatory Group that will be working with the EIPC process. Sam reported that the Regulatory Group is currently developing a list of issues that they plan to discuss with the EIPC Committees.

- Sam Waters reported on the planning activities between the NC Transmission Owners and SC Transmission Owners (TOs). He noted that the TOs continue to develop plans for exchanging data and determining what studies will be done.

- Ed Ernst reported that the SIRPP group continues with their technical analysis for the 5 planning studies selected for the 2009 -2010 scope of work. The SIRPP Study Group is targeting mid-April for the completion of the preliminary studies and providing the stakeholders with a report on the results.

- Rich Wodyka reported on the upcoming NCTPC - PJM planning group meeting scheduled for March 11th in Greensboro, NC. Rich highlighted the proposed agenda items for this meeting. One of the proposed agenda items, discussion of the PJM – Progress congestion management solution, raised some questions by the OSC members. The OSC requested and Sam Waters agreed to have Phil Creech, Progress Energy, update both the OSC and the PWG on the PJM – Progress congestion management solution at an upcoming meeting.

- The OSC discussed the recent FERC Notice of Inquiry (NOI) on Renewable Energy Resources. The OSC agreed to evaluate this NOI and determine if the OSC as a group would respond.

NCTPC Participation Agreement Extension

- David Beam reported that the approved NCTPC Participation Agreement has been executed and all parties have received signed copies.

- The OSC discussed the related NCTPC document changes that are required based on recent FERC orders associated with Order 890. The OSC approved the proposed edits to the OSC and TAG Scope documents. Sam Waters reported that the TAG Confidentiality Agreement updates are on hold pending the resolution of the SIRPP Confidentiality Agreement changes. An open issue related to the Confidentiality Agreement is what external model data can be provided to stakeholders that request NCTPC information. Duke and Progress will review and discuss with their attorneys and report back to the OSC at a future meeting. The OSC authorized Accenture to remove the appropriate wording from the Information and Data Request Process instructions on the NCTPC website.

TAG / ITP Update

- Rich Wodyka reported the NCTPC has received four Enhanced Access Scenarios requests from Southern Power. Rich and Bob Piece will have a discussion with Southern Power company representatives to clarify their scenario requests and report back to the OSC. If approved by the OSC, these Enhanced Access Scenarios requests from Southern Power would be processed in parallel with the previously approved 2010 Scope of Work and the results included in the 2010 Study Report at the end of the year. The PWG is requested to re-evaluate the 2010 Scope of Work assuming the inclusion of the Southern Power Enhanced Access Scenarios requests and report back to the OSC on any problems as a result of adding this additional work.

PWG Update

- Bob Pierce reported that the 2010 study models are being finalized. Bob noted that the PWG is evaluating the modeling of the wind resources and determining the appropriate load levels for testing.  The OSC reminded the PWG that the wind generator attachment costs are not included in the study results and that this fact should be made clear when the study results are reported to stakeholders.

Future Meeting Schedule

- The OSC changed the date for the next OSC from March 23rd to the 26th and decided that a teleconference meeting would be sufficient for the expected agenda items.

- At the next meeting, the OSC will discuss the date and location for the next TAG meeting.

| Date | Day | Time | Location |
| --- | --- | --- | --- |
| March 26, 2010 | Friday | 2 pm – 4 pm | Teleconference |
| April 19, 2010 | Monday | 10 am – 2 pm | Charlotte – Duke |
| May 18, 2010 | Tuesday | 10 am – 2 pm | Raleigh – ElectriCities |
| June 17, 2010 | Thursday | 10 am – 2 pm | Raleigh – NCEMC |
| July 22, 2010 | Thursday | 10 am – 2 pm | Charlotte – Duke |
| August 19, 2010 | Thursday | 10 am – 2 pm | Raleigh – ElectriCities |
| September 21, 2010 | Tuesday | 10 am – 2 pm | Raleigh – NCEMC |
| October 21, 2010 | Thursday | 10 am – 2 pm | Charlotte – Duke |
| November 16, 2010 | Tuesday | 10 am – 2 pm | Raleigh – ElectriCities |
| December 16, 2010 | Thursday | 10 am – 2 pm | Raleigh – NCEMC |