## North Carolina Transmission Planning Collaborative Process

Overview

The purpose of the North Carolina Transmission Planning Collaborative (NCTPC) Process is more fully described in the Participation Agreement. In general, however, the Process (the “Process”) was established to:

- provide the Participants and other stakeholders an opportunity to fully participate in the electric transmission planning process,

- preserve the integrity of the current reliability and least-cost planning processes,

- expand the transmission planning process to include analysis of increasing transmission access to resources inside and outside the control areas of Duke Power (Duke) and Progress Energy (Progress), and

- develop a single coordinated transmission plan for North Carolina that includes reliability and enhanced transmission access plans while appropriately balancing costs, benefits and risks associated with the use of transmission and generation resources.

The overall NCTPC Process includes two processes that will be concurrent and iterative in nature to produce two sets of study results. These processes are:

- Reliability Planning Process

- Enhanced Transmission Access Planning Process

The scope of these studies is outlined in the attached Appendix.  It is expected that there will be considerable feedback and iteration between the reliability Transmission Planning and the Enhanced Transmission Access Planning processes as each effort’s solution alternatives affect the other.

The Oversight Steering Committee (OSC) will manage the process.  The Planning Working Group (PWG) will support the development of the Process and perform the studies.  The Transmission Advisory Group (TAG) provides advice and makes recommendations regarding the development of the Process and the Study results.

Figure 1 below illustrates the major steps associated with the North Carolina Transmission Planning Collaborative Process.

- [GLOCKE deleted this paragraph and the next.

- [JDALTON Note:  If this appendix exists in another document then we just need to refer to it rather that repeat it.]  It is expected that there will be considerable feedback and iteration between the Reliability Planning process effort and the Enhanced Transmission Access Planning effort as solution alternatives for one affect the other.

- The Oversight Steering Committee (OSC) of the Participants is charged with managing the overall NCTPC Process. The Planning Working Group (PWG) supports the development of the Process and coordinates the study development. The Transmission Advisory Group (TAG) provides advice and recommendations on the development of the Process [JDALTON: what type of details will we be providing on the process for them to comment on?] and the study results.

- Reliability Planning Process

- The Reliability Planning Process is the transmission planning process that has traditionally been used by the transmission owners to provide safe and reliable transmission service at the lowest reasonable cost. This transmission planning process is being expnded to include the active participation of the Participants and input from the TAG.  [Note:  Reliability Planning Process and Enhanced Transmission Access Planning Process are capitalized terms in the Participation Agreement.]

The Reliability Planning Process will follow the steps outlined in the Reliability Study “Scope” document.”. [Note:  This needs to be modified, if the Appendix is deleted.]  For the Reliability Planning Process the OSC will approve the scope of the reliability study, oversee the activities of  the PWG [PKOZLOWSKI: oversee the study analysis being performed by the PWG], evaluate the study results, and approve the final Reliability Plan. The Reliability Planning Process will begin with the incumbent transmission owners’ most recent reliability planning studies and current transmission upgrades plans. The PWG will coordinate the development of the reliability studies based upon the OSC approved scope and prepare a report with the recommended transmission reliability solutions.

The final results of the Reliability Planning Process will include summaries of  the estimated costs and schedules to provide any transmission upgrades and/or additions needed to maintain a sufficient level of reliability necessary to serve the native load of all Participants. The reliability plan results will be reviewed with the TAG.

### Enhanced Transmission Access Planning Process

The Enhanced Transmission Access Planning (ETAP) Process will evaluate the means to increase transmission access to potential LSE network resources inside and outside the control areas of Duke and Progress.

The ETAP Process will follow the steps outlined in the ETAP Scope document.  The OSC will approve the scope of the ETAP study (including any changes in the assumptions and study criteria for the studies used in the reliability analysis), oversee the study analysis being coordinated by the PWG, evaluate the study results, and approve the final Enhanced Transmission Access Plan.

The ETAP Process will begin with the Participants and TAG members proposing scenarios and interfaces to be studied. The proposed scenarios and interfaces will be compiled by the PWG and then evaluated by the OSC to determine which ones will be included for analysis in the current planning cycle. The PWG will coordinate the development of the enhanced transmission access studies based upon the OSC approved scope and prepare a report on any recommended transmission solutions for increased interface capabilities.

The final results of the ETAP Process will include the estimated costs and schedules to provide the increased transmission capabilities. The OSC will evaluate the results and the PWG recommendations to determine if any proposed enhanced transmission access projects will improve any planned reliability projects previously identified.  If so, the initial Reliability Plan will be modified accordingly. The enhanced transmission access plan results will be reviewed with the TAG.

### Collaborative Transmission Plan

Once the Reliability Plan and the ETAP studies are completed they will be merged into a single Collaborative Transmission Plan that appropriately balances the costs, benefits and risks associated with the use of transmission and generation resources. The final plan will be reviewed with the TAG.

The Collaborative Transmission Plan information will be available for Participants to identify any alternative least cost resources to include with their respective Integrated Resource Plans. . Other stakeholders can similarly use this information for their resource planning purposes.

PWG evaluates reliability problems and current transmission upgrade  plans

PWG develops and  the  OSC approves the  reliability study scope

PWG performs coordinates the study analysis, identifies reliability problems, develops solutions with estimates of costs and schedules

Participants and TAG recommend scenarios and interfaces.   tThe OSC selects interface and scenariosstudies for analysis

PWG performs coordinates the study analysis, identifies access problems, develops solutions with estimates of costs and schedules

Reliability Planning

Enhanced Transmission Access Planning

OSC selects reliability and enhanced access solutions; checks for improved reliability through enhanced access solutions

OSC creates final draft Collaborative Plan

Feedback and Iterative Studies

Participants and TAG review evaluate the reliability study plan results

Participants’ resource planning processes

Participants and TAG evaluate review the enhanced access plan results

TAG feedback on final draft Collaborative Plan

OSC approves final Collaborative Plan

PWG develops and  the OSC approves the  enhanced access study scope

Figure 1
North Carolina Transmission Planning Collaborative Process Flowchart

- Appendix

- North Carolina Transmission Planning Collaborative Process

- [PKOZLOWSKI:  Note:  The PWG is in the process of modifying the Reliability Scope.  Either this appendix has to be kept in sync with any changes that the PWG proposes to the Reliability Study Scope; or perhaps this appendix should be deleted.  If the Reliability Study Scope is going to be made public, that latter option may be easier for the sake of keeping documents coordinated.]

- Transmission Planning Study Process - General Scope

The scope of the study processes for both the Reliability Planning and the Enhanced Transmission Access Planning activities are very similar and share many of the same steps such as assumptions, study criteria, methodology, etc..

The typical study process includes the following steps:

#### Assumptions

- Select the study assumptions for the analysis

- The study assumptions normally include the following:

    - Years to study

    - Load levels to be studied (e.g., peak, shoulder and light loads)

    - Load forecasts

    - Resource Supply projections

    - Interchange capabilities

    - Firm Reservations including TRM / CBM

    - Transmission Contingencies

    - Special protection schemes, special operating schemes

    - Financial (e.g., time value of money, financing costs, duration of analysis for present value analyses, etc.)

#### Study Criteria

- Establish the criteria by which the study results will be measured

- The criteria should promote consistency in the planning criteria used by all Participants, while allowing for circumstances that are unique to individual systems

- Typical study criteria involve the following elements:

    - NERC Reliability Standards

    - SERC Requirements

    - Individual company criteria (voltage, thermal, stability, short circuit, and phase angle)

#### Case Development

- Prepare the base case model

- Develop change case models as required to evaluate different resource supply scenarios

#### Methodology

- Determine the methodologies that will be used to carry out the study

- Determine the specific software programs that will be utilized to perform the analysis

#### Technical Analysis and Study Results

- Perform the study analysis (thermal, voltage, stability and short circuit) and produce the results

- Study thermal and voltage limits first thermal limits are typically the most difficult to resolve and the most limiting, with voltage issues usually being identified within the same power-flow analyses

- Study stability and short circuit analysis as needed

#### Assessment and Problem Identification

- Evaluate the results to identify problems / issues. The key questions are:

  - What causes the issues / limits?

  - If the limit were fixed, what would the next limit be and what would limit it?

#### Solution Development

- Identify potential solutions to the problems / issues

- Test the effectiveness of the potential solutions through additional studies (thermal, voltage, stability, short circuit) and modify the solutions as necessary such that all study criteria are met

- Perform financial analysis and rough scheduling estimation for each of the proposed transmission solutions (e.g., cost, cash flow, present value,)

#### Selection of Preferred Transmission Plan

- Compare alternatives and select the preferred solution alternatives – balancing of cost / benefit / risk

- Select a preferred set of transmission improvements that provides the most reliable and cost effective transmission solution while prudently managing the associated risks

#### Report on the Study Results

- Prepare a report on the results and recommended solutions for the final plan