Reliability Study Scope Document

- Year 2011 Summer & 2010/11 Winter as needed

- One model with Duke and PEC detailed models

  - Each company build generation down cases & share

- Common contingency file

- Common monitor file

- Each company to run their own assessments using their own criteria assumptions as described in Compare & Contrast

- LSEs to provide resource dispatch order including generation down

- Agree on generation addition assumptions.

- All confirmed transmission additions are included

- Report out thermal loadings greater than 90%

- Develop and evaluate alternatives to address issues

- Determine solution, cost, and schedule