2005 Reliability Study Scope Document

# Purpose of Study

The purpose of this study is to assess the Progress Energy Carolinas (PEC) and Duke transmission systems’ reliability and develop a single reliability transmission plan for North Carolina that ensures reliability of service in accordance with NERC, SERC, PEC and Duke requirements.

# Assumptions

- The year to be studied (study year) will be 2011 Summer and 2010/2011 Winter (winter as needed).

- Each Load Serving Entity (LSE) will provide a resource dispatch order for each of their Designated Network Resources in PEC and Duke. Generation will be dispatched for each LSE in the cases to meet that LSE’s peak load in accordance with the designated dispatch order. LSE’s will also include generation down scenarios for their resources if applicable (e.g., generation outage with description of how generation will be replaced, such as by that LSE’s dispatch order).

- PSS/E and/or MUST will be used for the study.

- Load growth assumptions will be in accordance with each LSEs practice, as documented in the document entitled “Contrast and Compare Planning Process”, attached.

- Generation, interchange and other assumptions will be coordinated between Participants as needed.

- The study year may be beyond the existing LSEs’ resource plans; therefore, some LSEs may not have enough generation capacity in the model to meet peak demand. Consequently, the Planning Working Group (PWG) may need to assume “fictitious” generation to meet resource adequacy requirement for the model. The PWG will review location of fictitious generation to avoid seams impacts and/or study multiple locations of the fictitious generation to confirm if reliability criteria violations are due to reliability issues (e.g., load growth), or due to the location of the fictitious generation.

# Case Development

- The most current MMWG or VSTE model will be used for the systems external to Duke and PEC as a starting point for the Base Case to be used by both PEC and Duke in their analyses.

- The Base Case will include the detailed internal models for PEC and Duke and will include current transmission additions planned for in-service for the given year. (i.e in-service by summer 2011 for 2011S cases and in-service by the winter for 2010/2011 for  2010/2011W cases.)

- An “All Firm Transmission” Case(s) will be developed which will include all confirmed long term firm transmission reservations with roll-over rights applicable to the study year

- Duke and PEC will each create their respective generation down cases from the common Base Case in accordance with the document entitled “Contrast and Compare Planning Process” (attached) and share the relevant cases with each other.

# Methodology

- At this time, only load flow analyses will be performed and not stability, short circuit or voltage stability studies. It is assumed that thermal limits will be the controlling limit for the reliability plan. Stability, short circuit and voltage stability studies may be performed at a later date if circumstances warrant.

- Contingencies evaluated will be as per the document entitled “Contrast and Compare Planning Process” attached. PEC and Duke will exchange contingency and monitored element files so that each can test the impact of contingencies on the other’s transmission system.

# Results

Results will be reported throughout the study area to identify transmission elements approaching their limit such that all Participants are aware of potential issues and appropriate steps to correct these issues can be identified, including the potential of previously undetected problems. PEC and Duke will report out throughout the study area:

- Thermal loadings greater than 90%

- Voltages less than 100% for 500 kV and less than 95% for 230 kV buses, and pre- to post-contingency voltage drops of 5% or more.

- Post-contingency voltage angle difference of Richmond-Newport 500 kV Line.

# Assessment and Problem Identification

Duke and PEC will each run their own assessments. Duke reliability criteria will be used for Duke’s transmission facilities, and PEC reliability criteria will be used for PEC’s transmission facilities. Reliability criteria for both companies is described in the document entitled “Contrast and Compare Planning Process” attached. Duke and PEC will report out what reliability problems have been identified in their assessments.

# Solution Development

- The PWG will develop potential solution alternatives to the identified reliability problems.

- Duke and PEC will test the solution alternatives using the same cases, methodologies, assumptions and criteria described above to test the effectiveness of the potential solutions.

- Duke and PEC will develop rough, planning level cost estimates and construction schedules for the solution alternatives.

# Schedule

The study schedule will be in accordance with the document entitled “NC Transmission Planning Collaborative Proposed Plan and Activities” attached