NC Transmission Planning Collaborative

Planning Working Group (PWG)

Teleconference Minutes

January 24, 2006

9:00 AM - 11:00 AM Eastern

Participants:

Bryan Guy, Chair					Progress Energy

Lee Adams						Progress Energy

Mark Byrd						Progress Energy

James Manning, Vice Chair				NCEMC

Andrew Fusco					ElectriCities

Frank Gaffney					ElectriCities

Denise Roeder					ElectriCities

Bob Pierce						Duke Energy

Pam Kozlowski					Gestalt

1.  RELIABILITY PLANNING STUDIES

- The group reviewed and modified the 2011 Summer Interchange sheet.

- The group discussed the requested resource supply options submitted by NCMPA1, Concord, Fayetteville, Tri-Towns, Waynesville and NCEMC.  Based on the discussion, it was evident that additional clarification was needed regarding some of the requests.  The appropriate PWG members will contact the requestors for such clarification.

- The group discussed modeling issues related to the requested resource supply options, including the appropriate modeling of Yadkin, reserve margin, and coincident peak versus non-coincident peak of loads.

- Action items 3b, 6a, 6b, 6c and 6d were added to the Action Item Log.

ACTION ITEM LOG

PWG Teleconference

January 24, 2006

|  | Action Item | Assigned To | Due Date |
| --- | --- | --- | --- |
| 1 | Develop process and idevs to merge Duke’s and PEC’s detailed cases | Brian Moss | In progress |
| 2 | Develop merged detailed case | Duke and PEC | 03/01/06 |
| 3a | Modify resource supply option form to allow multiple requests on one form | Denise Roeder | Complete |
| 3b | Modify enhanced access option form for TAG meeting to include only one request per form, eliminate references to DNRs | Pam Kozlowski | 01/24/06 |
| 4 | Submit resource supply options to the PWG | Participants | Complete |
| 5 | Review NCTPC process document for any modifications required to address the enhanced access planning process | PWG | 01/24/06 |
| 6a | Develop summary of the requested resource supply options for the 01/30/06 OSC meeting | Bryan Guy | Complete |
| 6b | Clarify requested resource supply options, how the requested options fit into supply needs and load assumptions (e.g., CP v. NCP) | Participants | 01/27/06 |
| 6c | Develop summary of how the requested resource supply options will be modeled in the base case, in the study scenarios, and under generation contingencies. Some of the requested resource supply options may be combined for study purposes. | Duke and PEC | 02/08/06 |
| 6d | Review to see if how the requested resource supply options are modeled fits with how the LSEs intend to utilize their resource portfolios | Participants | 02/15/06 |
| 6e | Develop recommendation to the OSC regarding resource supply option scenarios to be studied | PWG | 02/21/06 |
| 7 | Develop list of firm transmission reservations to be included in the merged detailed case, including “base” DNRs submitted by the Participants; and develop the base interchange table | Duke and PEC | 01/30/06 |
| 8 | Distribute list of normal generation outage cases and generation outages that impact the seams between Duke and PEC to be studied | Duke and PEC | 01/30/06 |