DRAFT

PWG Meeting Agenda

February 21, 2006

ElectriCities Offices – Raleigh, NC

10:00 AM – 3:00 PM

10:00 – 10:15	Administrative Issues

- Report on meeting facilities & logistics

- Review & approve January 18, 2006 minutes

- Review & approve January 24, 2006 minutes

10:15 – 10:45	OSC Meeting Report

- Receive report from the January 30, 2006 OSC meeting

- Receive report from the February 3, 2006 TAG meeting

10:45 – 12:00	Reliability Study

- Report on status of action items relative to the reliability study from January 18 & 24, 2006 PWG meetings

- Review Resource Supply Options

- Develop philosophy and approach to analysis of options

- Develop recommendation for OSC

- Discuss 10 year plan, issues with modeling 2016

- Develop action plan and assignments for the next steps in this process

12:00 – 12:30	LUNCH

12:30 – 01:00	Reliability Study (continued)

01:00 – 02:30	Enhanced Transmission Access Study

- Review Enhanced Access Options submitted by stakeholders

- Prepare summary of the options

- Develop criteria for evaluating the options

- Develop recommendation for OSC

- Develop stand alone ETAP Study Scope document

02:30 – 02:45	Review Progress against Schedules

- NCTPC Collaborative Process Activity Schedule 012606 (WORD document in clean and redline format)

02:45 – 03:00	Other Items

- Future PWG meeting dates and locations

3:00			Adjourn

Planning Working Group Teleconference

January 18 and 24, 2006

Action Items

|  | Action Item | Assigned To | Due Date |
| --- | --- | --- | --- |
| 1 | Develop process and idevs to merge Duke’s and PEC’s detailed cases | Brian Moss | In progress |
| 2 | Develop merged detailed case | Duke and PEC | 03/01/06 |
| 3 | Modify resource supply option form to allow multiple requests on one form Develop enhanced access option form | Denise Roeder Pam Kozlowski | Complete Complete |
| 4 | Submit resource supply options to the PWG | Participants | Complete |
| 5 | Review NCTPC process document for any modifications required to address the enhanced access planning process | PWG | 01/24/06 |
| 6a | Develop summary of the requested resource supply options for the 01/30/06 OSC meeting | Bryan Guy | Complete |
| 6b | Clarify requested resource supply options, how the requested options fit into supply needs and load assumptions (e.g., CP v. NCP) | Participants | 01/27/06 |
| 6c | Develop summary of how the requested resource supply options will be modeled in the base case, in the study scenarios, and under generation contingencies. Some of the requested resource supply options may be combined for study purposes. | Duke and PEC | 02/08/06 |
| 6d | Review to see if how the requested resource supply options are modeled fits with how the LSEs intend to utilize their resource portfolios | Participants | 02/15/06 |
| 6e | Develop recommendation to the OSC regarding resource supply option scenarios to be studied | PWG | 02/21/06 |
| 7 | Develop list of firm transmission reservations to be included in the merged detailed case, including “base” DNRs submitted by the Participants; and develop the base interchange table | Duke and PEC | 01/30/06 |
| 8 | Distribute list of normal generation outage cases and generation outages that impact the seams between Duke and PEC to be studied | Duke and PEC | 01/30/06 |