NC Transmission Planning Collaborative

Planning Working Group (PWG)

Meeting Minutes

February 21, 2006

Raleigh, NC

10:00 AM - 3:00 PM Eastern

Attendees:

Bryan Guy, Chair					Progress Energy

Lee Adams						Progress Energy

Mark Byrd						Progress Energy

James Manning, Vice Chair				NCEMC

Andrew Fusco					ElectriCities

Frank Gaffney					ElectriCities

Denise Roeder					ElectriCities

Bob Pierce						Duke Energy

Brandon Snyder					Duke Energy

Brian Moss						Duke Energy

Rich Wodyka						Gestalt

Pam Kozlowski					Gestalt

- ADMINISTRATIVE

- Mr. Guy called the meeting to order at approximately 10:00 AM.

- Mr. Guy provided an overview of the meeting facilities for the day.

- The group reviewed the January 18, 2006 PWG meeting minutes.  The minutes were approved.

- The group reviewed the January 24, 2006 PWG teleconference minutes.  The minutes were approved as modified at the meeting.

- OSC AND TAG MEETING REPORTS

- A report on the January 30, 2006 OSC meeting was given by those who had participated in the meeting.

- A report on the February 3, 2006 TAG meeting was given by those who had participated in the meeting.

- RELIABILITY PLANNING STUDIES

- The group reviewed the status of the action items from the January 18, 2006 meeting and January 24, 2006 teleconference.

- The group discussed and agreed on an approach to the analysis of the resource supply options; and developed a recommendation to the OSC regarding resource supply option scenarios to be studied.

  - The base case will be the starting point for creating the resource supply option study cases.

  - The basic approach will be to develop study cases for various external interfaces with an incremental import of 600 MW to Duke, with an incremental import of 600 MW to CPLE, and with both an incremental import of 600 MW to Duke and an incremental import of 600 MW to CPLE.

  - Screenings will be performed on the base case and on the study cases.  Based on the results, the group will determine whether additional studies will need to be performed at higher or lower import levels.

  - Some resource supply options may require individual study such as: (i) NCEMC’s request to study swapping a 100 MW source from AEP to SCEG and (ii) Waynesville’s request to study a 20 MW source from PJM to CPLW.

- The group discussed extrapolating results from the 2011 study out into the future.

- The group developed assignments for the next steps in the study process.  The assignments are listed in the action item log.

- ENHANCED ACCESS PLANNING STUDIES

- Mrs. Kozlowski reported that the TAG did not submit any requests for study of enhanced access options.

- The group agreed to wait for feedback from the OSC before moving forward with any assignments regarding the enhanced access planning process or modifying the NCTPC collaborative process activity schedule.

- OTHER ITEMS

- The meeting was adjourned at approximately 2:30 PM.

ACTION ITEM LOG

PWG Meeting

February 21, 2006

Raleigh, NC

|  | Action Item | Assigned To | Due Date |
| --- | --- | --- | --- |
| 1 | Provide electronic copy of Mr. Roberts’ 01/18/06 presentation to the PWG on how PEC determines and treats TRM | Bryan Guy | Complete |
| 2a 2b | Develop recommendation to the OSC regarding resource supply option scenarios to be studied Distribute recommendation to the OSC | PWG Bryan Guy | Complete 02/28/06 |
| 3 | Create list of all study cases to be developed to study resource supply option scenarios | Bob Pierce | 02/24/06 |
| 4a 4b 4c 4d 4e | Provide base case interchange to Brian Moss Provide raw data files of detailed PEC for developing merged detailed base case Provide surrogate MW rating to monitor phase angle issue across the Newport – Richmond 500 kV line Provide dispatch for 600 MW import cases Provide dispatches for gen maint/gen down cases for both base case interchange and 600 MW import cases | PEC PEC PEC PEC PEC | 02/24/06 02/27/06 02/27/06 02/27/06 02/27/06 . |
| 5 | Develop merged detailed case | Duke & PEC | 03/01/06 |
| 6 | Distribute base case screening results for review at 03/21/06 PWG meeting | Duke & PEC | 03/17/06 |
| 7 | Establish future meeting dates for PWG | Bryan Guy & PWG | 03/21/06 |