PWG Meeting Agenda

March 21, 2006

PEC Offices – Aberdeen, NC

10:00 AM – 3:00 PM

10:00 – 10:15	Administrative Issues

- Report on meeting facilities & logistics

- Review & approve February 21, 2006 minutes

10:15 – 10:45	OSC Meeting Report

- Receive report from the March 7, 2006 OSC meeting

  - Education session for Commission staff and Public staff with PWG representatives

10:45 – 12:00	Reliability Study

- Report on status of action items relative to the reliability study from February 21, 2006 PWG meeting

- Review base case screening results

- Review recommended study scenarios for Resource Supply Options

- Develop action plan and assignments for the next steps in this process

12:00 – 12:30	LUNCH

12:30 – 02:15	Reliability Study (continued)

02:15 – 02:45	NCTPC Process Activity Schedule

- Review and revise NCTPC Process Activity Schedule dated 01/26/06

02:45 – 03:00	Other Items

03:00			Adjourn

DRAFT

Planning Working Group Meeting

February 21, 2006

Action Items

|  | Action Item | Assigned To | Due Date |
| --- | --- | --- | --- |
| 1 | Provide electronic copy of Mr. Roberts’ 01/18/06 presentation to the PWG on how PEC determines and treats TRM | Bryan Guy | Complete |
| 2a 2b | Develop recommendation to the OSC regarding resource supply option scenarios to be studied Distribute recommendation to the OSC | PWG Bryan Guy | Complete Complete |
| 3 | Create list of all study cases to be developed to study resource supply option scenarios | Bob Pierce | Complete |
| 4a 4b 4c 4d 4e | Provide base case interchange to Brian Moss Provide raw data files of detailed PEC for developing merged detailed base case Provide surrogate MW rating to monitor phase angle issue across the Newport – Richmond 500 kV line Provide dispatch for 600 MW import cases Provide dispatches for gen maint/gen down cases for both base case interchange and 600 MW import cases | PEC PEC PEC PEC PEC | 02/24/06 02/27/06 02/27/06 02/27/06 02/27/06 . |
| 5 | Develop merged detailed case | Duke & PEC | 03/01/06 |
| 6 | Distribute base case screening results for review at 03/21/06 PWG meeting | Duke & PEC | 03/17/06 |
| 7 | Establish (and revise?) future meeting dates for PWG | Bryan Guy & PWG | 03/21/06 |