PWG Meeting Agenda

April 18, 2006

Duke’s Little Rock Operations Center

Charlotte, NC

10:00 AM – 3:00 PM

10:00 – 10:15	Administrative Issues

- Report on meeting facilities & logistics

- Review & approve March 21, 2006 PWG minutes

10:15 – 10:30	OSC Meeting Report

- Receive report from the March 30, 2006 OSC meeting

10:30 – 12:00	Reliability Study

- Report on status of action items relative to the reliability study from March 21, 2006 PWG meeting

- Review base case screening results

- Discuss impact of results on recommended study scenarios for Resource Supply Options

- Begin development of baseline draft Reliability Plan

- Develop action plan and assignments for the next steps in this process

12:00 – 12:30	LUNCH

12:30 – 01:30	Reliability Study (continued)

01:30 – 02:30	NC Commission Visit with PWG

- Review agenda and meeting materials

02:30 – 02:45	NCTPC Process Activity Schedule

- Review and revise NCTPC Process Activity Schedule dated 03/24/06

02:45 – 03:00	Other Items

03:00			Adjourn

Planning Working Group Meeting

March 21, 2006

Action Items

|  | Action Item | Assigned To | Due Date |
| --- | --- | --- | --- |
| 1a 1b | Distribute NCTPC collaborative process activity schedule as modified at the 03/21/06 PWG meeting to the PWG meeting for comment Comments due back from PWG | Bryan Guy PWG | Done Done |
| 2 2a 2b 2c 2c | Provide dispatches for: - 506 MW of “TRM” into PEC - Gen maint/gen down cases for base case interchange - 600 MW import cases - Gen maint/gen down cases for 600 MW import case | Lee Adams & Brian Moss | 03/24/06 03/24/06 TBD TBD |
| 3 | Create idev to set ratings A, B and C of the Richmond-Newport 500 kV line to 1350 MW | Lee Adams | 03/24/06 |
| 4 | Complete matrix of potential resource supply option study scenarios | Mark Byrd & Bryan Guy | 04/04/06 |
| 5 | Distribute base case results and base case with generator maintenance results as completed. Report results with thermal loadings greater than 90%. | Duke & PEC | Distribute prior to 04/18/06 PWG meeting |
| 6 | Develop draft “baseline” reliability plan | Duke & PEC | Distribute prior to 04/18/06 PWG meeting |
| 7a 7b | Establish PWG meeting date with Commission staff Develop draft agenda and presentations for the PWG meeting with Commission staff | Bryan Guy Pam Kozlowski | 03/24/06 04/07/06 |
| 8 | Post revised PWG meeting schedule on website | Pam Kozlowski | 03/24/06 |