NC Transmission Planning Collaborative

Planning Working Group (PWG)

Meeting Minutes

March 21, 2006

Aberdeen, NC

10:00 AM - 3:00 PM Eastern

Attendees:

Bryan Guy, Chair					Progress Energy

Lee Adams						Progress Energy

Mark Byrd						Progress Energy

James Manning, Vice Chair				NCEMC

Charles Askey					NCEMC

Andrew Fusco					ElectriCities

Frank Gaffney					ElectriCities

Denise Roeder					ElectriCities

Bob Pierce						Duke Energy

Brandon Snyder					Duke Energy

Brian Moss						Duke Energy

Rich Wodyka						Gestalt

Pam Kozlowski					Gestalt

- ADMINISTRATIVE

- Mr. Guy called the meeting to order at approximately 10:00 AM.

- Mr. Guy provided an overview of the meeting facilities for the day.

- The group reviewed the February 21, 2006 PWG meeting minutes.  The minutes were approved.

- OSC MEETING REPORT

- A report on the March 7, 2006 OSC meeting was given by those who had participated in the meeting.

- The group discussed having the North Carolina Utilities Commission staff attend a special meeting of the PWG.

  - A two day meeting will be scheduled in May.  The PWG will meet separately the afternoon of the first day; and the PWG will meet with the Commission staff on the morning of the second day.

  - May 11 and 12 and May 4 and 5 were chosen as preferred and alternate dates, respectively, for the two day meeting.  The two day meeting will be held at ElectriCities.  Lunch will be provided both days.

  - Action items 7a and 7b were added to the action item log.

- RELIABILITY PLANNING STUDIES

- The group reviewed the status of the action items from the February 21, 2006 meeting.

- The group discussed and agreed on an approach to providing dispatches for the 600 MW import cases and the generator maintenance cases.  Action item 2 was added to the action item log.

- PEC performed a preliminary AC contingency analysis of the merged detailed base case; and Duke performed a preliminary screening of the merged detailed base case and of the 600 MW import cases.  They reported that there were no unexpected results.

- The group discussed and agreed on an approach to monitoring the post-contingency phase angle difference of the Richmond-Newport 500 kV line.  The A, B and C ratings of the line will be set to 1350 MW to flag the need to review the phase angle difference.  Action item 3 was added to the action item log.

- The group developed assignments for the next steps in the study process.  The assignments are listed in the action item log.

- OTHER ITEMS

- The group revised the NCTPC Collaborative Process Activity Schedule for review by the OSC at its next meeting.  Action items 1a and 1b were added to the action item log.

- The group discussed sharing power flow cases and the SERC confidentiality agreement.  The group agreed that this issue should be submitted as an agenda item for discussion at the next OSC meeting.

- The group established the following meeting dates through the end of 2006.

  - July 18		Charlotte

  - August 16		Raleigh

  - September 19	Aberdeen

  - October 18		Charlotte

  - November 9	Raleigh

  - December 5	Aberdeen

- The meeting was adjourned at approximately 2:30 PM.

ACTION ITEM LOG

Planning Working Group Meeting

March 21, 2006

|  | Action Item | Assigned To | Due Date |
| --- | --- | --- | --- |
| 1a 1b | Distribute NCTPC collaborative process activity schedule as modified at the 03/21/06 PWG meeting to the PWG meeting for comment Comments due back from PWG | Bryan Guy PWG | 03/22/06 03/24/06 |
| 2 2a 2b 2c 2c | Provide dispatches for: - 506 MW of “TRM” into PEC - Gen maint/gen down cases for base case interchange - 600 MW import cases - Gen maint/gen down cases for 600 MW import case | Lee Adams & Brian Moss | 03/24/06 03/24/06 TBD TBD |
| 3 | Create idev to set ratings A, B and C of the Richmond-Newport 500 kV line to 1350 MW | Lee Adams | 03/24/06 |
| 4 | Complete matrix of potential resource supply option study scenarios | Mark Byrd & Bryan Guy | 04/04/06 |
| 5 | Distribute base case results and base case with generator maintenance results as completed. Report results with thermal loadings greater than 90%. | Duke & PEC | Distribute prior to 04/18/06 PWG meeting |
| 6 | Develop draft “baseline” reliability plan | Duke & PEC | Distribute prior to 04/18/06 PWG meeting |
| 7a 7b | Establish PWG meeting date with Commission staff Develop draft agenda and presentations for the PWG meeting with Commission staff | Bryan Guy Pam Kozlowski | 03/24/06 04/07/06 |
| 8 | Post revised PWG meeting schedule on website | Pam Kozlowski | 03/24/06 |