*** DRAFT ***

PWG Meeting Agenda

May 11, 2006

ElectriCities

Raleigh, NC

Lunch:  Noon – 1 PM

Meeting:  1:00 PM – 5:00 PM

12:00 – 1:00		LUNCH

1:00 – 1:15		Administrative Issues

- Report on meeting facilities & logistics

- Review & approve April 18, 2006 PWG minutes

1:15 – 1:45		OSC Meeting Report

- Receive report from the April 27, 2006 OSC meeting

- Discuss feedback from OSC on policy issues presented by PWG

1:45 – 4:00		Reliability Study

- Report on status of action items relative to the reliability study from April 18, 2006 PWG meeting

- Review additional base case and 1200 MW import screening results

- Discuss solutions for Richmond – Newport 500kV line

- Discuss whether any further action is needed regarding the Wateree 100 kV line

- Review screening results of 600 MW import cases from the south

- Begin development of baseline draft Reliability Plan

- Develop action plan and assignments for the next steps in this process

4:00 – 4:30		NC Commission Visit with PWG

- Review agenda and meeting materials

4:30 – 4:45		NCTPC Process Activity Schedule

- Review and revise, if necessary, NCTPC Process Activity Schedule dated 03/24/06

4:45 – 5:00		Other Items

5:00			Adjourn

ACTION ITEM LOG

Planning Working Group Meeting

April 18, 2006

|  | Action Item | Assigned To | Due Date |
| --- | --- | --- | --- |
| 1 | Review generator maintenance cases to see if any of these cases accelerate the need for the Parkwood transformer upgrade | Duke | 05/05/06 |
| 2a 2b 2c | Complete screening of the 1200 MW import cases Electronically distribute results of base case and 1200 MW import case screenings Simulate the operating procedure for addressing the post-contingency phase angle difference on the Richmond-Newport 500 kV line | PEC PEC PEC | 05/05/06 05/05/06 05/05/06 |
| 3a 3b 3c | Draft presentation for the OSC summarizing screening results to date and policy issues discussed at PWG meeting; distribute to PWG for comment Comment on presentation Develop draft “baseline” reliability plan | Bryan Guy & Bob Pierce PWG Duke & PEC | Done Done TBD based on input from the OSC |
| 4 | Provide summary of which alternative resource option cases and generator maintenance cases may not need to be simulated based on screenings to date | Duke & PWG | 05/05/06 |
| 5 | Perform screenings on 600 MW imports from the south next | Duke & PWG | 05/09/06 |
| 6a 6b | Modify presentations for meeting with NCUC staff; distribute to PWG for comment in preparation for review by OSC Comment on presentations | Pam Kozlowski PWG | Done Done |
| 7 | Modify the compare and contrast document to reflect that Duke does not test transmission contingencies on top of their generation contingency testing, only on top of their generation maintenance testing | Duke | 05/09/06 |
| 8 | Discuss whether any further action is needed regarding the Wateree 100 kV line | PWG | 05/11/06 (next PWG meeting) |