DRAFT

PWG Meeting Agenda

June 20, 2006

PEC Offices

Aberdeen, NC

10:00 AM – 3:00 PM (EPT)

10:00 – 10:15	Administrative Issues

- Report on meeting facilities & logistics

- Review & approve May 11, 2006 PWG minutes

10:15 – 10:30	OSC Meeting Report

- Receive report from the May 17, 2006 OSC meeting

10:30 – 12:00	Reliability Study

- Report on status of action items relative to the reliability study from May 11, 2006 PWG meeting

- Review PEC screening results of 600 MW and 1200 MW import cases

- Richmond-Newport 500 kV line – PEC present and PWG discuss results from:

- Existing PEC studies that have been performed regarding the post-contingency phase angle difference

- Dynamic simulations of in-rush current from closing the line in on major generating units

- Studies of potential solutions from the PWG’s brainstorming session on May 11th

12:00 – 12:30	Lunch

12:30 – 1:00		Reliability Study (continued)

1:00 – 2:00		Draft Reliability Plan

- Discuss format and development of:

  - Reliability project listing

- Baseline draft Reliability Plan

2:00 – 2:45		NCTPC Process Next Steps

- Develop action plan and assignments for the next steps in the process

- Review and revise, if necessary, NCTPC Process Activity Schedule dated 03/24/06

2:45 – 3:00		Other Items

3:00			Adjourn

ACTION ITEM LOG

Planning Working Group Meeting

May 11, 2006

|  | Action Item | Assigned To | Due Date |
| --- | --- | --- | --- |
| 1 | Post transmission cost allocation summary and VACAR map under PWG working documents | Pam Kozlowski | Done |
| 2 | Complete screening of the 600 MW and 1200 MW import cases and distribute results | PEC | 06/13/06 |
| 3a 3b 3c | Richmond-Newport 500 kV line: Discuss existing studies that have been performed regarding the post-contingency phase angle difference Dynamically simulate impact of in-rush current from closing the line in on major generating units Begin looking at impact of potential solutions from the PWG’s brainstorming session on May 11th | PEC PEC PEC | 06/20/06 06/13/06 06/13/06 |
| 4a 4b | Create template for reporting reliability problem identified, solutions considered, solution recommended and justification for recommendation Develop draft “baseline” reliability plan | Pam Kozlowski & Rich Wodyka Duke & PEC | 06/06/06 06/13/06 |