PEC Import Limitation

Solution Brainstorm

- Improve understanding of the import issue in dynamic space

- For delta-P reduction, look at possible operating procedure to isolate 230 kV generation by opening the 500/230 kV transformer bank(s) at Richmond

- Switchable series reactors on lines

- Switchable series capacitors on lines

__________________________________

- Phase shifter on Richmond-Cumberland 500 kV line at Cumberland station

- Phase shifters on Jacksons Ferry (AEP)-Antioch 500 kV line

- Phase shifters on Wake-Carson (VP) 500 kV line

__________________________________

- Parkwood-Durham 500 kV line and add series switchable capacitors or phase shifters located between Parkwood-Pleasant Garden-McGuire-Newport-Richmond 500 kV path to increase flow into PEC

- Pleasant Garden-Asheboro 230 kV line(s)

- Axton (AEP)-Person-Clover (VP) 500 kV line

- Joshua Falls (AEP)-Clover (VP) 500 kV line

- Parkwood-Harris-Wake 500 kV line

- Robinson (SC)-Richmond 500 kV line

- Lenoir-Wake 500 kV line