## Duke Net Intg
2006-08-22
Duke |  | SUMMER
New Resource Case
Off system imports |  | Base Case | New Resource Case |  | PEC TRM
|  | 2011 | DELTA | NEW | DELTA | NEW | COMMENT
DUKE | CIN | 350 |  | 350 |  | 350 | OASIS 379091 & 2, 379777 & 8 (not a DNR)
DUKE | AEP | 0 |  | 0
DUKE | PJM (NCMPA) | -40 |  | -40 |  | -40 | Dynamic schedule to serve NCMPA load
DUKE | PJM (Alternative supply) | 0 |  | 0 |  | 0
DUKE | CIN | 0 |  | 0 |  | 0
DUKE | SCEG (Greenwood) | -57 |  | -57 |  | -57 | Based on load forecast less SEPA allocation. Network service request 403973
DUKE | SCEG (NCEMC) | -100 |  | -100 |  | -100 | NCEMC network resource designation 332062 to 1/1/09 (assume ends in 2012 per NCEMC projection sheet)
DUKE | SCEG | 0 |  | 0 |  | 0
DUKE | SCEG | 0 |  | 0 |  | 0
BREC (Calpine)**** | CPLE | 850 |  | 850 |  | 850 | Based on OASIS reservation 315065 for 850 MW and rollover rights (CPLE DNR)
DUKE | CPLE (City of Seneca) | -31 |  | -31 |  | -31 | Based on load forecast less SEPA allocation. Network service request 331809
DUKE | CPLE (NCEMC) | -100 |  | -100 | 100 | 0 | NCEMC network resource designation 332064 to 1/1/09 (assume rollover per NCEMC projection sheet)
DUKE | CPLE (NCEMC2) | -100 |  | -100 | 100 | 0 | No OASIS reservation for remaining 100 MW
DUKE | CPLE (NCEMC) | 0 | 100 | 100 |  | 100 | Modeling a REDIRECT of a 100 MW portion of CPLE NCEMC's AEP 205 MW DNR . This leaves 105MW coming to CPLE from AEP.
DUKE | CPLE (NCEMC) | 100 |  | 100 |  | 100 | OASIS 404949 for NCEMC DNR in CPLE from Catawba
DUKE | CPLE | 50 |  | 50 |  | 50 | OASIS 404737 for CPLE DNR from Lincoln CT's
DUKE | HARTWELL (SEPA) | -156 |  | -156 |  | -156 | Per SEPA allocation table and OASIS 70581981
DUKE | RUSSELL (SEPA) | 0 |  | 0
DUKE | SCPSA (New Horizons) | -880 |  | -880 |  | -880 | Supply NHEC load in excess of CNS entitlement. Dynamic scheduling contract 331538
DUKE | SOCO | 0 |  | 0 |  | 0
DUKE | SOCO | 0 |  | 0 |  | 0
DUKE | SOCO | 0 |  | 0 |  | 0
DUKE | SOCO | 0 |  | 0 |  | 0
DUKE | SOCO | 0 |  | 0 |  | 0
DUKE | SOCO (PMPA) | -180 |  | -180 |  | -180
DUKE | THURMOND (SEPA) | -113 |  | -113 |  | -113 | Per SEPA allocation table and OASIS 70581988
DUKE | TVA | 200 |  | 200 |  | 200 | Confirmed yearly OASIS request 306071 and rollover rights (not a DNR)
DUKE | EES | 0 |  | 0 |  | 0
DUKE | YADKIN (Badin) | 0 |  | 0 |  | 0
DUKE | CPLE (TRM) | 0 |  | 0 | 506 | 506 | Duke providing portion of PEC's TRM.
DUKE | CPLE (New Resource Options) | 0 | 1100 | 1100 |  | 1100 | Sum of resource supply options ( FPWC/500 .+ PEC/400 + NCEMC/200 =1100 MW )
DUKE | TOTAL | -207 | 1200 | 993 | 706 | 1699
On system resources
NCMPA | Progress Ventures | 140 |  | 140 |  | 140 | 140 MW of 150 additional resource required to meet expected load
190 MW (50 + 140) will be assumed to come from PV

## PEC Net Intg
2006-08-22
PEC |  | 2011 SUMMER |  |  |  |  | New Resource Case
|  |  | Base Case |  | New Resource Case |  | TRM
FROM | TO | Description | - for mports / + for exports |  | Delta | New | Delta | New
CPLE | CPLW | W-E Transfer | 50 |  |  | 50 | -200 | -150 | West to East Network Reservation posted on OASIS
CPLE | SCEG | NCEMC | -150 |  |  | -150 |  | -150
CPLE | SC | Co-Gen | -9 |  |  | -9 |  | -9
CPLE | DUKE | PEC | -50 | Redirected. Source was from FPC in VSTE. |  | -50 |  | -50 | See OASIS study dated Dec 21, 2005
CPLE | DUKE | City of Seneca | 31 |  |  | 31 |  | 31
CPLE | DUKE | Broad River Gen | -850 |  |  | -850 |  | -850
CPLE | DUKE | NCEMC in Duke | 200 |  |  | 200 | -200 | 0 | In PEC import /TRM case this reservation is removed to avoid netting effects. (Duke dispatch requested to carry this from within Duke)
CPLE | DUKE | NCEMC in CPLE (#391609) | -100 | Redirected. Source was from SCEG in VSTE. |  | -100 |  | -100 | See OASIS study dated Oct 26, 2005
CPLE | DUKE | NCEMC | 0 |  | -100 | -100 |  | -100 | Modeling a REDIRECT of a 100 MW portion of NCEMC's AEP 205 MW DNR . This leaves 105MW coming from AEP.
CPLE | DUKE | New Resource Options | 0 |  | 1100 | 1100 |  | 1100 | Sum of resource supply options ( FPWC/500 .+ PEC/400 + NCEMC/200 =1100 MW )
CPLE | SoCo | NCEMC | -25 | Not in VSTE. |  | -25 |  | -25
CPLE | VP | NCEMPA in VP | 165 |  |  | 165 |  | 165
CPLE | VP | SEPA-Kerr Dam Project | -95 |  |  | -95 |  | -95
CPLE | VP | Littleton | 9 |  |  | 9 |  | 9
CPLE | VP | Sharpsburg+TriTowns | -20 |  |  | -20 |  | -20
CPLE | AEP | Rockport | -250 | Roll-over of AEP Rockport 250 MW schedule; contract ends in 2009. |  | -250 |  | -250
CPLE | AEP | NCEMC in CPLE | -205 |  | 100 | -105 |  | -105 | Assume a REDIRECT of 100 MW to a Duke source.
CPLE | AEP | NCEMC #2 in CPLE | -100 |  |  | -100 |  | -100
TRM |  |  | 0 |  |  | 0 | -1835 | -1835 | AEP, Duke, SC, SCEG, VP (Duke dispatch requested for 506 MW portion to PEC)
|  | CP &L (East) | -1399 |  | 1100 | -299 | -2235 | -2534
CPLW | CPLE | W-E Transfer | -50 |  |  | -50 | 200 | 150
CPLW | TVA | SEPA-Cumberland Project | -14 |  |  | -14 |  | -14
|  | CP &L (West) | -64 |  | 0 | -64 | 200 | 136
|  | TOTAL East & West | -1463 |  | 1100 | -363 | -2035 | -2398