NC Transmission Planning Collaborative

Planning Work Group (PWG)

Meeting Minutes

May 9, 2007

ElectriCities Offices

Raleigh, NC

10:00 Am – 3:00 PM Eastern

Attendees:

Bob Pierce							Duke Energy

Laura Lee (Guest)						Duke Energy

Helen Steins (Guest)						Alcoa Contractor

Pam Kozlowski						Gestalt

Bob Beadle							NCEMC

Bryan Guy							Progress Energy

Rick Anderson						Fayetteville PWC

Andy Fusco							ElectriCities

Lee Adams							Progress Energy

Laura Travison						Progress Energy

Via Phone

Rich Wodyka							Gestalt

Frank Gaffney						ElectriCities

- ADMINISTRATIVE

- Mr. Guy called the meeting to order at approximately 10:03 AM.  Mr.  Guy introduced our guests, Helen Steins, representing the Yadkin system for Alcoa, and Laura Lee.  Mrs. Steins (and Ms. Lee?) signed the newly developed confidentiality agreement for PWG guest participation.  Mr. Fusco provided an overview of the meeting facilities and logistics for the day.

- The group reviewed, modified and approved the April 11, 2007 PWG meeting minutes as drafted.  The group discussed the action items from that meeting.

- Laura Lee is possibly replacing Brandon Snyder as a member on the PWG for Duke Energy and will officially join PWG effective at the end of May, if approved by the OSC.

- Group discussed PWG officer election and terms.  Based on the PWG Scope, the term of office for the PWG officers is two years.    PWG concluded that a 2 year calendar term of office would best fit the needs of PWG.  Propose that Mr. Guy to finish out this calendar year as Chair.  It was suggested that the Vice Chair assume the Chair position upon rotations.  Recommended that the PWG nominate future Chair and Vice Chair after we know who fills the OSC positions for Chair and Vice Chair.

ACTION ITEM:  Propose to the OSC that we extend Mr. Guy’s Chair term through the end of the year.  Elect new Chair and Vice Chair in the October time frame to begin January 1, 2008.  Need nominations for Chair and Vice Chair for PWG.

ACTION ITEM:  Mr. Guy to request that the PWG Officer terms be added as a discussion item in the OSC meeting.

ACTION ITEM:  Mrs. Kozlowski to review the PWG private site working documents posted on website, make updates to documents, post current documents and remove stale documents.

ACTION ITEM:  Mrs. Kozlowski to add topic of posting additional documents on the public website to the June PWG Agenda and request the topic to be discussed at the OSC meeting to gain their input and guidance.

- Mrs. Kozlowski to provide generic list of planning posting requirements that FERC has laid out in the 890 Order.

- OSC AND TAG Meetings Update

- Mr. Wodyka provided a report on the OSC meeting held on April 26th in the Raleigh NCEMC office. Notable items for the PWG included:

  - Continue to discuss South Carolina companies’ potential involvement with the NCTPC.

  - There will be a press release on the supplemental transmission plan report.

  - The Gestalt contract extension of 2 years was approved.

  - Addressed possible Participation Agreement and scope changes that would impact the PWG next year regarding import/export planning.

  - TAG meeting included the 2007 Activities Presentation, Supplemental Plan Presentation, and FERC 890 Principles and Application Presentation.

- GUIDELINES FOR INCLUDING LSE RESOURCES IN THE NCTPC BASE CASE PLANNING MODELS

- Flow Chart Changes – the flow chart was discussed, reviewed, and modified.

ACTION ITEM:  Mrs. Kozlowski to modify the text to match the flow chart and bring recommendation to OSC for their review, discussion and approval.  Re-script 4a and 4b to match the flow chart with the change from “and” to “or” and email to PWG for review, comments, and changes prior to next OSC meeting.

ACTION ITEM:  Mr. Fusco to modify flow chart box 2 C.

- REPORT ON STATUS OF PROJECTS IDENTIFIED IN THE 2006 COLLABORATIVE PLAN

- PWG to provide OSC the status of upgrades in the collaborative plan in July.

- Group discussed using the already established report and add detail column regarding project status, especially for upcoming projects that require work to be currently in progress.

ACTION ITEM:  Mrs. Kozlowski to set up new formatting of Appendix 1 of the Supplemental Report and send word version to PEC and Duke to input information.

ACTION ITEM:  PEC to update out of date projects on PEC website.

- 2008 STUDY ASSUMPTIONS

- Deliverable to OSC – PWG proposal for 2008 study due in the fall.

  - TRM – examine 2 components of inrush during emergency rating, PEC to provide study of what 15 minute and 30 minutes TRM ratings would look like as an alternative to the inrush component of TRM in hopes to eliminate inrush, becoming more like Duke Energy.

  - PWG would like a better understanding of how PEC calculates parallel path flow.

ACTION ITEM:  PEC to create cases looking at the incremental impact to the project assuming PEC uses base case scenario.

ACTION ITEM:  PEC inrush component, look at emergency ratings, and bring in expert to report at an upcoming PWG meeting. PEC to do comparison with Duke.

ACTION ITEM:  Duke to do modeling OF WHAT ???for September / October time frame.  I can’t remember what we decided to do.

- Discussed Transformer Ratings

ACTION ITEM:  PEC to meet with transformer design department regarding transformer rating and either bring information to or bring expert to the June PWG meeting.

ACTION ITEM:  At some point PWG needs to address PEC’s and Duke’s difference on how the companies treat double circuit lines.  Duke (and PEC?) to investigate the probability of occurrence to justify the difference.

- 2007 CASE DEVELOPMENT, TECHNICAL ANALYSIS AND RESULTS

- PEC results for base reliability TRM.  Group discussed line loading percentages and line rating.

- Group determined the 2007 problem areas as Brunswick and Camden.

- Group looked at the Yadkin situation and discussed TRM solutions and the need to establish operating procedures to determine a resolution.

ACTION ITEM:  PWG to report the Yadkin technical problem to the OSC and wait for OSC to give directions regarding resolving the issues.

- Mrs. Stein brought up Yadkin reliability and load issues.  Group discussed multiple scenarios and solutions and how to  address the issues in light of FERC Order 890.   Group determined that this issue needs to go to the OSC and the OSC needs to determine how to proceed with resolving the issue.

- OTHER ITEMS

ACTION ITEM:  Begin solution development for the 2007 study in the June meeting.

Mr. Guy adjourned meeting at 2:30 PM