Guidelines for Including LSE Resources in the NCTPC Base Case Planning Models

- As part of the annual planning process, all LSEs will provide base case generation resource assumptions (“LSE Resources”) from their respective resource planning processes for inclusion in the NCTPC base case transmission planning models.

- A preliminary list of LSE Resources for the NCTPC base case transmission planning models will be developed as follows:

  - If an LSE Resource is an existing DNR that is part of the LSE’s current resource portfolio, it will be included in the NCTPC base case transmission planning models.

  - If an OASIS request for the LSE Resource for designation as a network resource has been made and approved by the transmission service provider and confirmed by the LSE, it will be included in the NCTPC base case transmission planning models.

  - If a proposed LSE Resource that does not meet the requirements of items 2a or 2b above AND is intended to replace another existing DNR that is part of the LSE’s current resource portfolio, it will be examined for inclusion in the NCTPC base case transmission planning models when the following occur:

    - all issues regarding rollover rights of the resource being replaced are resolved, and

    - any potential duplication of resources to serve the same load are addressed.

- Once the preliminary list of LSE resources is determined then the technical analysis can proceed to evaluate if the inclusion of the LSE Resources proposed in item 2c above are realistic (i.e., the facilities are feasible and would not likely require disproportionate transmission costs and/or immediate investment in transmission assets) as decided by the OSC.

- Once the technical analysis in item 3 above is completed, one of the following situations would apply:

  - If the study results indicate that the inclusion of a proposed LSE Resource in the NCTPC base case models does not result in either:

    - disproportionate transmission costs; or

    - immediate investment in transmission

as decided by the OSC, then the proposed LSE Resource would remain in the NCTPC base transmission planning models until such time when the transmission owner notifies the LSE that the initiation of transmission facility engineering, design or construction is scheduled to begin. At that point, the LSE must either:

i)	provide a formal commitment by identifying the resource and submitting an OASIS request for designation as a network resource; or

ii)	develop an alternate LSE Resource for consideration for inclusion in the base plan.

  - If the study results indicate that the inclusion of a proposed LSE Resource in the NCTPC  base case models does result in:

    - disproportionate transmission costs; and/or

    - immediate investment in transmission

as decided by the OSC, then the LSE must either:

i)	provide a formal commitment by identifying the resource and submitting an OASIS request for designation as a network resource; or

ii)	develop an alternate LSE Resource for consideration for inclusion in the base plan.