NC Transmission Planning Collaborative

Planning Work Group (PWG)

Meeting Minutes

September 12, 2007

Progress Energy Corporation

Raleigh, NC

10:00 AM – 3:00 PM Eastern

Attendees:

Denise Roeder						ElectriCities

James Manning						NCEMC

Brian Moss 							Duke Energy

Bob Pierce							Duke Energy

Bob Beadle							NCEMC

Laura Travison						Progress Energy

Pam Kozlowski						Gestalt

Mark Byrd							Progress Energy

Bryan Guy							Progress Energy

Lee Adams							Progress Energy

Via Phone

Rich Wodyka							Gestalt

- ADMINISTRATIVE

- Mr. Guy called the meeting to order at 10:14 AM.

- The draft August PWG Meeting Minutes provided will be cleaned up more by PEC and re-sent to the PWG for comments.

- OSC Meetings

- Mr. Byrd and Mr. Wodyka reported on the OSC Meeting and the documents the group is working on.

- TAG Meeting

- Mrs. Kozlowski reviewed the list of those who have signed up for the 9/17/2007 TAG meeting.

- Mr. Guy reviewed the draft TAG presentation titled “NCTPC 2007 Study Scope & Status”.

- Mrs. Kozlowski reviewed the slide showing the status of major projects.

- PEC shared that since the last collaborative plan, PEC has modified its western area project to build a new Asheville-Enka 230 kV line. The project has been modified to be a two phase project; first convert an Asheville-Enka 115kV line to 230 kV; second to construct a new 115 kV circuit.

- PWG slides will show project changes including those due to confirmed TSRs.

- PWG presentation will be shortened due to the time needed by OSC to present its topics. PWG to remove slides that address the “2007 Scope” since this information was provided at last TAG meeting. Mr. Pierce to present PWG presentation and don his only coat and tie.

ACTION ITEM:  Mrs. Kozlowski to review and modify presentation.  Mr. Guy to send the NCTPC PowerPoint presentation to the OSC this evening.

- 2008 Study Assumptions

- Mrs. Kozlowski reviewed the draft document for the OSC regarding PWG recommendations for changes to assumptions in the 2008 studies; this includes assumptions on common tower outages, TRM, and transformer ratings.

- On common tower, the group discussed efforts underway at NERC to change the TPL set of standards (NERC Project 2006-02). Specifically, the common tower outage requirements (Table 1, P-9) appear likely to be part of the requirement but will allow some curtailments & shedding of load. Recommendation will be to assess common tower outages of P9-1 in PWG’s 2008 studies.

- On TRM, PEC was not able to obtain data for this meeting. PEC will provide by 9/28.

- On PEC transformer ratings, PEC shared that its organization has agreed to investigate what will be required to obtain seasonal/short term ratings of its T/T transformers. This effort will likely go into mid 2008. PEC will update the PWG as the investigation progresses during 2008. PWG will recommend starting the 2008 study assuming no changes to transformer rating assumptions for PEC. PEC will continue its practice utilizing a portion of 65 degree ratings where acceptable.

ACTION ITEM:  PEC to draft a paragraph on its transformer rating effort and recommend no change for 2008.

ACTION ITEM:  PEC will provide TRM parallel path historical data by 9/28.

- 2007 Study Results and Solution Development

- The group discussed 2007 study results and discussed how to present them to the OSC.

- The group worked on the 2007 Major Project List and developed and discussed using last year’s format as a starting point for this year’s report.

- The group agreed a conference call was needed to review the next report draft and any TRM data.

ACTION ITEM:  PEC to develop solutions for the problems identified in the generation RSO scenarios.

ACTION ITEM:  Mrs. Kozlowski to send out a draft report and identify which holes need to be filled in by PEC and Duke.

ACTION ITEM:  PEC to update its portion of Appendices B and C.

ACTION ITEM:  Ms. Travison to set up conference call at 1:30pm on Wednesday, October 3rd and provide a conference call line.

- OTHER ITEMS

- Mrs. Kozlowski reviewed work plan and discussed needed adjustments to schedule.

Mr. Guy adjourned meeting at approximately 3:15 PM.