NC Transmission Planning Collaborative

Planning Work Group (PWG)

Meeting Minutes

August 15, 2007

ElectriCities Offices

Raleigh, NC

10:00 AM – 3:00 PM Eastern

Attendees:

Bob Beadle							NCEMC

James Manning						NCEMC

Denise Roeder						ElectriCities

Bob Pierce							Duke Energy

Bryan Moss							Duke Energy

Mark  Byrd							Progress Energy

Laura Travison						Progress Energy

Bryan Guy 							Progress Energy

Lee Adams							Progress Energy

Sammy Roberts						Progress Energy

Helen Steins							Yadkin

Rich Wodyka							Gestalt

Pam Kozlowski						Gestalt

Frank Gaffney						ElectriCities

- ADMINISTRATIVE

- Mr. Guy called the meeting to order at approximately 10:07 AM.

- The group reviewed, modified and approved the July 11, 2007 PWG meeting minutes.  The group discussed the action items from that meeting.

- OSC MEETING

- Mr. Wodyka & Mr. Byrd provided the OSC update. The OSC has been involved in issues addressing Order 890 requirements on regional planning including cost allocation and regional planning.

- YADKIN

- Helen Stines representing Yakin attended the meeting as a guest to provide Yadkin’s planning practices as requested by the PWG. (Confidentiality agreement signed earlier.)

- Yadkin performs their model update once a year which is typically a 10 year outlook that includes a detailed modeling of their system.  The SERC model update is held the first week in June and they have final cases by the end of July.  Yadkin planning studies utilize the SERC cases with no additional modeling.

- Yadkin has no plans for additional transmission projects in the future.

- An operating procedure exists between PEC and Yadkin.  It is associated with Yadkin’s Badin Station and PEC’s Tillery Station. When the loading reaches 95%  on the Tillery-Badin 100 kV line the PEC dispatcher will call to open up the Badin 115/100 kV #1 & #2 transformers in series with the lines to prevent overloading of the lines.

- An operating guide exists to prevent overloading of the Tuckertown-High Rock 100 kV line. The line is opened to prevent overloads.

- Badin has approximately 5 MW of load in the models.

- Yadkin has a 50 MW firm reservation that is yearly and has roll over rights.  They don’t include it in the base case until their roll over rights are confirmed for the next year, so it is included in the near term cases but not the long term cases.

- Helen discussed the impacts Yadkin sees with the new Pleasant Garden – Asheville 230 kV line.

- PEC TRM RESERVE MARGIN COMPONENTS PRESENTATION

- Mr. Roberts presented how PEC establishes TRM components.  Mr. Roberts covered the NERC definition of TRM and the SERC Supplement of TRM components.

- SERC recommends allowances for parallel path and loop flow.  Mr. Roberts discussed how PEC considers inrush and VACAR reserves and parallel flow.

- Parallel flow is derived from the median of the historical parallel flow.  Real time power flow data is modeled in power flow cases in the parallel flow assessments.

- Inrush component of TRM is calculated via power flow simulations using PEC’s power system simulator at its ECC.

ACTION ITEM:  PEC will provide data used to derive the components in TRM calculations.

ACTION ITEM:  Mr. Guy to provide the TRM Power Point presentation to the PWG.

- 2007 STUDY RESULTS AND SOLUTION DEVELOPMENT

- No issues in reliability studies for 2012 and 2016.

- Mr. Guy and Mr. Byrd presented the updated PEC Reliability / RSO spreadsheet reflecting the 1200 MW RSO that included import projects associated with the confirmed TSRs. PEC is moving forward with the initial siting of the new projects and will continue to monitor them in studies.

The group d

- iscussed results to address PEC issues for RSO generation that may also reduce need for operating procedures.  The Erwin 500kV and Bynum 500kV alternatives provide some improvement but not large changes.  Mr. Guy mentioned that PEC OASIS study shows a Richmond - Ft. Bragg Woodruff Street 230kV line was cited to address loading issues in a posted generator interconnection study and that line may provide some benefits to loading issues seen in some RSO generation studies.

- For the generation and 1200 MW import RSOs, study results for the Duke system showed no new projects needed.

ACTION ITEM:  PEC to investigate cost of Erwin, Wake, and Richmond Ft. Bragg options.

ACTION ITEM:  PEC will modify column descriptions in the results spreadsheet to make them more clear as to the assumptions for each scenario.

- 2008 STUDY ASSUMPTIONS

- PEC to send out a write up on PEC common tower outages and relevance on system design by August 24th.

- TAG MEETING

ACTION ITEM:  PWG to prepare material for the September 17th TAG Meeting.  Presentations to be sent out to group prior to 9/12 PWG meeting for comments and brought to the 9/12 PWG Meeting for finalization.

- Mr. Guy reviewed and discussed with the group the Appendix B Collaborative Transmission Plan Major Project Listing draft which is posted.

- Group discussed the Reliability / Resource Supply Option information to include in the TAG update.

- Mr. Byrd proposed giving a status update discussing the changes to the Collaborative Plan.  Mr. Wodyka suggested reporting on the process related to the base changes (confirmed TSRs). Need to include the additional projects associated with confirmed TSRs that are over $10 M and include the project scope description.

- Need a table showing RSOs.

- Group discussed the appropriate level of detail to include to describe the RSO generation cases.

ACTION ITEM:  Mrs. Kozlowski to update the table and create the beginning and ending of the presentation.    Mrs. Kozlowski suggested that for the study scope presentation the group add more detail to the April TAG study scope presentation.  Also suggested that the group use last fall’s TAG results presentation as a guide for developing this year’s results presentation.  May add a slide to show the schedule for the remainder of this year.

ACTION ITEM:  Duke and PEC to send TAG input slides to Mrs. Kozlowski no later than Tuesday, August 28th.

ACTION ITEM:  Mrs. Kozlowski to combine TAG presentation and send out to group prior to teleconference call on September 6th.

ACTION ITEM:  Ms. Travison to send out changed meeting location information to group.

ACTION ITEM:  Teleconference on Wednesday, September 6th at 9:00am.

ACTION ITEM:  Mrs. Roeder to propose dates for next year’s PWG meetings taking the 2008 OSC meeting dates into consideration.

- ORDER 890 PLANNING INFORMATION REQUIREMENTS

- Mrs. Kozlowski reviewed the “PWG Recommendation Regarding Responsibilities” table with the group.  The group made minor modification to the document to resubmit to the OSC.

ACTION ITEM:  Group to provide any additional comments, modifications and/or ideas regarding the “PWG Recommendation Regarding Responsibilities” table to Mrs. Kozlowski by August 24, 2007.

- OTHER ITEMS

ACTION ITEM:  Mrs. Roeder to propose dates for next year’s PWG meetings taking the 2008 OSC meeting dates into consideration.

Mr. Guy adjourned meeting at approximately 3:15 PM.