| Assigned and Active Tasks |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item | Date | Action | Assigned To | Due Date | Status (Assigned, Active,) |
| 3 | 9/12/07 | PEC to draft a paragraph on their transformer rating effort and recommend no change for 2008. | BG | 10/17/07 | Active |
| 4 | 9/12/07 | PEC will provide TRM parallel path historical data. | BG | 9/28/07 | Active |
| 5 | 9/12/07 | PEC to provide solutions for the impacts found in their generation RSO’s. | BG | 10/17/07 | Active |
| 9 | 10/17/07 | Email L. Travison the August and September 2007 minutes approved in 10/17 PWG Meeting | BG |  |  |
| 12 | 10/17/07 | Contact PEC legal to regarding a recommendation on responding to Kim Jones questions on Southern Virginia-North Carolina. | BG |  |  |
| 15 | 10/17/07 | B.Guy, M.Byrd, E.Ernst, B. Pierce to decide on common cost basis for reporting the total cost of a project in reports and tables. | BG |  |  |
| 18 | 10/17/07 | Progress operations has a few lines w/emergency ratings. Investigate using emergency ratings in planning. | BG |  |  |
| 19 | 10/17/07 | Present scope for Progress internal study on transformer ratings with PWG. | BG |  |  |
| 20 | 10/17/07 | Present options for modeling TRM in the new process that Progress operations is implementing for determining AFC/ATC. | BG |  |  |
| 21 | 10/29/07 | Progress comment on Duke scope for Progress West import study & distribute to PWG. | BG | 10/31/07 |  |
| 22 | 10/29/07 | Send e-mail to OSC summarizing cost estimate alternatives & requesting guidance. | BG | 10/31/07 |  |
| 25 | 10/29/07 | Comment on 10/29 draft of 2007 report & appendices. | ALL | 11/02/07 |  |

| Completed Tasks |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Item | Date | Action | Assigned To | Due Date | Date Completed |
| 1 | 9/12/07 | Mrs. Kozlowski to review and modify TAG presentation. | PK | 9/12/07 | Complete |
| 2 | 9/12/07 | Mr. Guy to send the TAG presentation to the OSC this evening. | BG | 9/12/07 | Complete |
| 6 | 9/12/07 | Mrs. Kozlowski to send out a draft report and identify which holes need to be filled in by PEC and Duke. | PK | 9/28/07 | 1st draft – 9/28 2nd draft – 10/4 |
| 7, 13 | 9/12/07 10/17/07 | Provide and an update to 2007 NCTPC Report, Appendices B & C for added PEC projects. | BG | 10/22/07 | 10/29/07 |
| 8 | 9/12/07 | Mr. Travison to set up conference call at 1:30pm on Wednesday, October 3rd and provide a conference call line. | LT | ASAP | Complete |
| 10 | 10/17/07 | Send new draft of “2008 Study Recommendations” for the OSC with updated TRM and Transformer language and send to PWG for comments. | PK | 10/19/07 | 10/26/07 |
| 11 | 10/17/07 | PWG to provide comments in PK draft of “2008 Study Recommendations” prior to 10/29 teleconference call. | ALL |  | 10/29/07 |
| 14 | 10/17/07 | Provide PWG members a conference phone number for PWG Conference Call Meeting on 10/29/07, 10AM-12N | LT |  | 10/19/07 |
| 16 | 10/17/07 | Distribute e-mail correspondence with Kim Jones to PWG | PK |  | 10/19/07 |
| 17 | 10/17/07 | Provide revised drafts of 2007 NCTPC Report and Appendices to PWG for review/comment prior to 10/29 PWG teleconference call. | PK | 10/22/07 | 10/22/07 |
| 23 | 10/29/07 | Send description of Wateree operating guide to P. Kozlowski. | RP | 10/29/07 | 10/29/07 |
| 24 | 10/29/07 | Update 2007 report & appendices, distribute to PWG. | PK | 10/29/07 | 10/29/07 |