NC Transmission Planning Collaborative

Planning Work Group (PWG)

Meeting Minutes

October 17, 2007

Duke Energy

Raleigh, NC

10:00 AM – 3:00 PM Eastern

Attendees:

Denise Roeder							ElecriCities

James Manning						NCEMC

Brian Moss 							Duke Energy

Bob Beadle							NCEMC

Laura Travison						Progress Energy

Pam Kozlowski						Gestalt

Rick Anderson						Fayetteville PWC (EC)

Bryan Guy							Progress Energy

Lee Adams							Progress Energy

Via Phone:

Rich Wodyka							Gestalt

Andy Fusco							ElectriCities

- ADMINISTRATIVE

- Mr. Guy called the meeting to order at 10:04 AM.

- The group revised and approved August and September PWG meeting minutes.

ACTION ITEM:  Mr. Guy to review meeting minutes to action item list to ensure consistency.  Ms. Travison to send out the Excel version of action item list to PWG group.

- 2008 STUDY ASSUMPTIONS

- Mr. Phil Creech, a guest from PEC’s, ECC provided a presentation on PEC parallel flow impacts and TRM. Mr. Creech shared a presentation of results from simulations of various external PEC transfers. Cases were VST OASIS Cases. Mr. Creech shared actual PEC tie line flows for a day in the summer of 2007, winter of 2007, and fall of 2007.

- Mr. Creech stated that they expect by year end PEC will be changing current ATC/AFC process that will impact how PEC accounts for margins.

- PEC will discuss possible new modeling options with PWG to get input from group. Other notable points included:

  - Actual experience in summer 2007 revealed transfers up to 8000 MWs out of the north east in one day.

  - The nature of the northeast market typically leaves PEC unaware the direct contributing transactions to parallel path flow.

  - Parallel path flow increases system losses.

ACTION ITEM:  Mr. Guy to investigate if the information shown to the PWG by Mr. Creech can be made available to the PWG.

ACTION ITEM: Mr. Guy to investigate a few lines with emergency ratings used in operations per Mr. Creech.

- Group reviewed and edited PWG recommendation on Study Methodology for OSC.

- Mr. Guy provided language on PEC’s proposed recommendation regarding transformer ratings. PEC has begun an effort to investigate higher T/T ratings. Since it will likely be next summer at the earliest, the PWG will recommend no change here as we begin 2008 studies.

- Ms. Kozlowski to draft TRM language based on today’s meeting. Recommendation will include that PEC is beginning a transition in how TRM is accounted; therefore, we will not change TRM practices as we begin 2008 studies.

ACTION ITEM:  Mr. Guy to send out PWG RSM Mrs. Kozlowski for edits and Mrs. Kozlowski to send out to group for comments by Friday, October 19th.

- OSC MEETING AND FERC TECHNICAL CONFERENCE

- Mr. Wodyka reported on OSC, the FERC 890 Technical Conference Discussion, and what needs to be changed in the NCPWG process to meet new FERC Standards.  Primary changes were on cost allocation.  Also discussed new interregional planning participation process.

- 2007 STUDY RESULTS AND SOLUTION DEVELOPMENT

- Group discussed, reviewed, and revised PEC Reliability Study Results.

ACTION ITEM:  Mrs. Kozlowski to send email trail to PWG.  Mr. Guy to talk to Kendal re: Kim Jones email.

ACTION ITEM:  Mr. Guy will send out updated version of 2007 NCTPC Report to PWG for additional comments.

5.  2007 STUDY REPORT AND APPENDICES

- Group discussed, reviewed, and revised PEC Reliability Study Results in the 2007 NCTPC Report.

ACTION ITEM:  Mrs. Kozlowski to send a draft of the 2007 Study Report by early next week.  PWG to send comments to Mrs. Kozlowski by Friday October 19, 2007 for inclusion.

ACTION ITEM:  Mr. Guy to set up teleconference call by for Monday, October 29th from 10:00am to 12:00am to construct a finalized draft of the 2007 Study Report to present to OSC in the November 17th meeting.  Ms. Travison to provide the PWG a conference call number.  Mrs. Kozlowski to send out final draft prior to teleconference by Monday October  22nd.

ACTION ITEM: Mr. Guy to update Appendices B & C. He will add information to Appendix C on new PEC projects added to the plan.

ACTION ITEM:  Mrs. Kozlowski edit report to be consistent “Other transmission solutions considered” Appendix C.

- Group discussed estimate cost.  Actual versus NPV calculations.  Differences between Duke and PEC and the impact on the ability to accurately make comparisons.  Group discussed and agreed there needs to be consistency in estimate calculations.

ACTION ITEM:  Mr. Guy set up conference call prior to Oct. 29th from 10 to12N to follow-up on project estimates used in the 2007 reporting.

6.   OTHER ITEMS

Mrs. Kozlowski reported there were no 890 assignments made directly for the PWG.

Mr. Guy adjourned meeting at approximately 3:11 PM.