NC Transmission Planning Collaborative

Planning Work Group (PWG)

Meeting Minutes (DRAFT)

December 6, 2007

Progress Energy Carolinas

Aberdeen, NC

10:00 AM – 3:00 PM Eastern

Attendees:

Andy Fusco							ElectriCities

Denise Roeder						ElectriCities

Brian Moss 							Duke Energy

Bob Pierce							Duke Energy

Pam Kozlowski						Gestalt

Bob Beadle							NCEMC

James Manning						NCEMC

Mark Byrd							Progress Energy

Lee Adams							Progress Energy

Joey West							Progress Energy

Laura Travison						Progress Energy

Via Phone:

Rich Wodyka							Gestalt

- ADMINISTRATIVE

- James Manning called the meeting to order at 10:17 AM and reviewed the meeting facilities/logistics.

ACTION ITEM:  Mark Byrd to follow up on contacting Kimberly Jones regarding the DOE Congestion Study.

- The group reviewed and approved the October and November PWG meeting minutes.

ACTION ITEM:  Pam Kozlowski to ensure PWG members receive document being finalized by Jennifer Key for TAG.

- OSC AND TAG MEETINGS

- Pam Kozlowski reported on the OSC and TAG meetings.

- At the OSC November 15 meeting Jennifer Key went through Attachment K in detail and solicited comments from the group to finalize the document.

- Andy Fusco was appointed as the 2008 OSC Treasurer.

- Reporting of project costs was discussed and for comparisons it was determined that nominal dollars will be used.

ACTION ITEM:  PWG to develop a short document describing project cost estimate reporting methodology within the PWG.

- 2007 STUDY REPORT AND APPENDICES

- Mark Byrd suggested adding Recently Completed OASIS Studies to the PWG agenda starting in 2008 and have an open item for the PWG to openly discuss changes, new studies, proposals, etc.

- Group reviewed NCTPC PWG TAG presentation for the December 13th meeting, made edits, and finalized.

ACTION ITEM:  Pam Kozlowski to send out the revised 2007 NCTPC Report to PWG Friday, December 7th and group to review and provide revisions/comments to Pam by close of business on Monday, December 10th.  (Duke to revise Wateree operating procedures).

- SUPPLEMENTAL STUDY – Impact of Richmond CC and Richmond-Fort Bragg-Woodruff Street 230kV Line

- Mark Byrd reviewed the PEC System Impact Study Report and the Facilities Study Report for the Fayetteville 600MW import request.

- The reports show the overloads with the Richmond CC and 1200MW of import included in the studies.

- The reports conclude that 1200MW of import will still be available with the Richmond CC unit and the Richmond-Fort Bragg-Woodruff Street 230kV Line in the case.

- Mark commented that (without the new line) the Fayetteville-Fort Bragg Woodruff Street 230kV Line contingency is the most critical since that would cause the Fayetteville- Fayetteville East 230kV Line to load to 114%.

ACTION ITEM:  Mark Byrd to provide a summary to the OSC describing the Richmond CC studies that have already been done.

- 2008 WORK PLAN

- Group discussed future planning studies including possible new FERC regulations and impacts of different ways of planning.

- PWG discussed 2008 study cases, resource supply options, cost allocation, etc.

- There are 8 resource supply option cases for the PEC West supplemental study.

- PWG cases for the supplemental study to be complete by the end of December, screened in January, issues to be analyzed, and draft report completed by the end of the 1st quarter.

ACTION ITEM:  Brian Moss to draft a listing of the interchange for the PEC West cases.

ACTION ITEM:  Pam Kozlowski to begin developing sections of the supplemental report and also create a 2008 PWG work plan and schedule.

ACTION ITEM:  James Manning to take last year’s study scope and update it with our 2008 planned additional studies and send to Pam Kozlowski for review.  Pam will provide this draft 2008 Study Scope at our January PWG meeting.

- OTHER ITEMS

ACTION ITEM:  Bob Pierce to reword scope to clarify the assessment of lower voltage transmission facilities in the PWG Recommendations on Study Methodology document regarding the study requirements for projects impacting transfer capability that are under 230kV and send out to PWG for review and finalization via email.  The PWG will provide the finalized scope to the OSC.

ACTION ITEM:  PWG to present the OSC with 2008 Study Scope discussion of future studies including: new TPL Standards sensitivity (suggest a subset of new proposed standards), wind generation and renewables without going into great detail in order to give the PWG some flexibility to later define more detail.

- The PWG plans to perform near term and long term studies with years 2013 and 2018 being suggested.

- The PWG voted for Bob Beadle as 2008 Chair and Bob Pierce as 2008 Vice Chair.

James Manning adjourned meeting at approximately 3:10 pm.