## Base-2013
NCTPC 2008 Study Base Resources: 2013 Estimate of Resources
Submitting Company: | NCEMPA / NCMPA1
Resource Sink-Control Area and LSE (1) | Resource Source-Control Area, Purchase Type, Generator Location, etc. (2) | Position (Base/ Intermediate/ Peaking, etc.) | Point of Receipt (3) | Maximum Capacity (Summer), MW | Maximum Capacity (Winter), MW | Other Comments (Position if needed for establishing load flow case dispatch), Assumed rollover of contract, etc.
CPLE (NCEMPA) | PEC-System (full requirements)
Duke (NCMPA1) | Catawba | base |  | 832 | 832
Duke (NCMPA1) | SEPA | base |  | 60 | 60
Duke (NCMPA1) | Southern Purchase (Rowan generator) | peaking |  | 150 | 150
Duke (NCMPA1) | Undesig CT (Guilford Co.) | peaking |  | 60 | 60
Duke (NCMPA1) | Undesig System Purchase (SOCO) | peaking | Southern-Duke | 50 | 50
|  |  |  | 1152 | 1152
Notes:
(1) Specify Duke, CPLE, or CLPW control area. Also provide LSE
(2) Provide the source control area and specify if it is a system purchase or purchase from specific generator(s). Also provide generator location if needed.
(3) Optional detail. If a specific interface for POR on the Duke, CPLE, or CPLW control area is desired, please provide the interface.

## Base-2018
NCTPC 2008 Study Base Resources: 2018 Estimate of Resources
Submitting Company: | NCEMPA / NCMPA1
Resource Sink-Control Area and LSE (1) | Resource Source-Control Area, Purchase Type, Generator Location, etc. (2) | Position (Base/ Intermediate/ Peaking, etc.) | Point of Receipt (3) | Maximum Capacity (Summer), MW | Maximum Capacity (Winter), MW | Other Comments (Position if needed for establishing load flow case dispatch), Assumed rollover of contract, etc.
CPLE (NCEMPA) | PEC-System (full requirements)
Duke (NCMPA1) | Catawba | base |  | 832 | 832
Duke (NCMPA1) | SEPA | base |  | 60 | 60
Duke (NCMPA1) | Southern Purchase (Rowan generator) | peaking |  | 150 | 150
Duke (NCMPA1) | Undesig CT (Guilford Co.) | peaking |  | 120 | 120
Duke (NCMPA1) | Undesig System Purchase (SOCO) | peaking | Southern-Duke | 91 | 91
|  |  |  | 1253 | 1253
Notes:
(1) Specify Duke, CPLE, or CLPW control area. Also provide LSE
(2) Provide the source control area and specify if it is a system purchase or purchase from specific generator(s). Also provide generator location if needed.
(3) Optional detail. If a specific interface for POR on the Duke, CPLE, or CPLW control area is desired, please provide the interface.