## Base-2013
NCTPC 2008 Study Base Resources: 2013 Estimate of Resources
Submitting Company: | NCEMC
Resource Sink-Control Area and LSE (1) | Resource Source-Control Area, Purchase Type, Generator Location, etc. (2) | Position (Base/ Intermediate/ Peaking, etc.) | Point of Receipt (3) | Maximum Capacity (Summer), MW | Maximum Capacity (Winter), MW | Other Comments (Position if needed for establishing load flow case dispatch), Assumed rollover of contract, etc.
Duke (NCEMC) | SEPA | Base | - | 13 | 13
Duke (NCEMC) | Catawba | Base | - | 359 | 359 | IM obligation from Catawba is 215 MW, 105 MW to PEC
Duke (NCEMC) | Duke PPA (System Purchase) | Intermediate | - | 97 | 97
Duke (NCEMC) | PEC PPA | Intermediate | CPLE-DUK-E | 100 | 100
Duke (NCEMC) | NCEMC Anson & Hamlet Plants | Peaking | CPLE-DUK-E | 68 | 68
|  |  |  | 637 | 637
PEC (NCEMC) | AEP Baseload & 205 Replacement | Base | PJM-CPLE | 200 | 200 | Assumes rollover of existing contract/DNR's
PEC (NCEMC) | Catawba | Base | DUK-E-CPLE | 105 | 105
PEC (NCEMC) | PEC SOR PPA | Base | - | 920 | 920
PEC (NCEMC) | SEPA | Base | - | 45 | 45
PEC (NCEMC) | NCEMC Anson & Hamlet Plants | Intermediate | - | 520 | 520 | Remainder to Duke
PEC (NCEMC) | PEC Intermediate/ Peaking PPA | Intermediate | - | 200 | 200
PEC (NCEMC) | Undesignated-Addnl Generation? | Peaking | DUK-E-CPLE | 200 | 200
|  |  |  | 2190 | 2190
Notes:
(1) Specify Duke, CPLE, or CLPW control area. Also provide LSE
(2) Provide the source control area and specify if it is a system purchase or purchase from specific generator(s). Also provide generator location if needed.
(3) Optional detail. If a specific interface for POR on the Duke, CPLE, or CPLW control area is desired, please provide the interface.

## Base-2018
NCTPC 2008 Study Base Resources: 2018 Estimate of Resources
Submitting Company: | NCEMC
Resource Sink-Control Area and LSE (1) | Resource Source-Control Area, Purchase Type, Generator Location, etc. (2) | Position (Base/ Intermediate/ Peaking, etc.) | Point of Receipt (3) | Maximum Capacity (Summer), MW | Maximum Capacity (Winter), MW | Other Comments (Position if needed for establishing load flow case dispatch), Assumed rollover of contract, etc.
Duke (NCEMC) | SEPA | Base | - | 13 | 13
Duke (NCEMC) | Catawba | Base | - | 352 | 352 | IM obligation from Catawba is 174 MW, 105 MW to PEC, 50 MW to Dom
Duke (NCEMC) | Duke PPA (System Purchase) | Intermediate | - | 122 | 122
Duke (NCEMC) | PEC PPA | Intermediate | CPLE-DUK-E | 100 | 100
Duke (NCEMC) | NCEMC Anson & Hamlet Plants | Peaking | CPLE-DUK-E | 200 | 200
|  |  |  | 787 | 787
PEC (NCEMC) | AEP Baseload & 205 Replacement | Base | PJM-CPLE | 200 | 200 | Assumes rollover of existing contract/DNR's
PEC (NCEMC) | Catawba | Base | DUK-E-CPLE | 105 | 105
PEC (NCEMC) | PEC SOR PPA | Base | - | 970 | 970
PEC (NCEMC) | SEPA | Base | - | 45 | 45
PEC (NCEMC) | NCEMC Anson & Hamlet Plants | Intermediate | - | 420 | 420 | Remainder to Duke
PEC (NCEMC) | PEC Intermediate/ Peaking PPA | Intermediate | - | 200 | 200
PEC (NCEMC) | Undesignated-Addnl Generation? | Peaking | DUK-E-CPLE | 425 | 425
|  |  |  | 2365 | 2365
Notes:
(1) Specify Duke, CPLE, or CLPW control area. Also provide LSE
(2) Provide the source control area and specify if it is a system purchase or purchase from specific generator(s). Also provide generator location if needed.
(3) Optional detail. If a specific interface for POR on the Duke, CPLE, or CPLW control area is desired, please provide the interface.