NC Transmission Planning Collaborative

Planning Work Group (PWG)

Meeting Minutes (DRAFT)

April 2, 2009

Charlotte, NC – Duke Customer Resource Center

10:00 AM – 3:00 PM Eastern

Attendees:

Denise Roeder						ElectriCities

Laura Lee							Duke Energy

Bob Pierce							Duke Energy

Rick Anderson						Fayetteville PWC

Bob Beadle							NCEMC

James Manning						NCEMC

Mark Byrd							Progress Energy

Lee Adams							Progress Energy

Joey West							Progress Energy

Rich Wodyka							Accenture

- ADMINISTRATIVE

- Bob Beadle started the meeting at 10:25 AM.

- The March 3, 2009 PWG meeting minutes were approved with no changes.

- Rich Wodyka updated the group on the developments at the previous OSC meeting on March 19th.

- Bob Beadle and Rich Wodyka updated the group on the NCTPC/PJM kick-off meeting held on March 20th. Rich Wodyka indicated that the next meeting date is TBA, and the group may want to consider what additional information would be beneficial to exchange between the groups.

- SCRTP Results

- Bob Beadle and Bob Pierce discussed the recent SCRTP stakeholder meeting held on March 19th in Columbia, SC. Bob Beadle added that he had discussed the previous SCRTP study request made by the PWG and was advised that they could perform a similar study in the future and back the load down to 75% in order to source generation from the SCE&G/SPSA area instead of SOCO. Bob Pierce added that it would be a good idea to make sure the next study request specifically include a stipulation to use all generation in the control area for the study.

- 2009 STUDY-BASE CASE DEVELOPMENT

- Bob Pierce reported that Duke decided to use the MMWG models developed in November and December rather than the LTSG cases, since they included the large backbone transmission projects.

- Bob Pierce also indicated that the interchange table had been reformatted to compare the interchange in the MMWG model.

- Laura Lee mentioned that the cases are done, but not posted yet due to some issues with loading files to the FTP site. Joey West agreed to look into the file posting issue.

ACTION ITEM: Joey West to work with Laura Lee on resolving the file posting issues.

- The group asked whether there were any other PWG projects that need to be included in the models. Mark Byrd responded that since the delayed projects were in the 2011 and 2012 timeframe, they shouldn’t change in the model. Bob Pierce responded that the 3rd Sadler tie transformer and the (2) Caesar line variations should be included.

- Laura Lee suggested setting Monday as the completion date for the load cases, adding that she would send out an email to confirm.

ACTION ITEM: Laura Lee to send out an email confirming completion of the load cases.

- Mark Byrd asked whether the group is now ready to start doing screens for the models, especially for 2014 (base case would be normal conductor for the Caesar line upgrade, alternate case for high temperature conductor). Joey West and Bob Pierce agreed that the screens should be available for the May PWG meeting. Joey also agreed to look at the internal interchange for PJM from last year to this year to see if the transmission upgrades help, and will send a case summary back out.

ACTION ITEM: Joey West to review interchange and send out a revised case summary.

- TAG MEETING PRESENTATION

- Bob Beadle reviewed the draft framework for the April TAG meeting. Rich Wodyka mentioned that he would be presenting the TAG voting structure. Bob Pierce agreed to cover the regional study portion of the presentation, with updates on the 2019 LTSG study, preliminary results for the SIRPP, and coverage of the JCSP, SCRTP, and PJM coordination.

- Bob Beadle agreed to set up a conference call on April 16th to go over a final draft of the TAG presentation.

ACTION ITEM: Bob Beadle to set up conference call for April 16th from 1:30-2:30pm.

- Mark Byrd asked whether the PWG needs to post the study scope on the web site. Rich Wodyka agreed to check on whether it is needed, adding that the normal process is to go over the scope as part of our start of the year TAG meeting and the participants have the web site address if they want more information.

- Bob Pierce reviewed the PJM meeting summary slide bullets.

- OTHER ITEMS

- Joey West reported that he would follow up with Santee-Cooper on the Brunswick-SC tie line study and confirm a meeting/conference call date.

- Mark Byrd reported that Progress Energy should have a new load forecast in about 2 weeks, but it may not change anything beyond what has already been discussed.

- Rich Wodyka mentioned that he has received some interest from Quanta in making a presentation at a TAG meeting. This item will be passed along to the OSC for consideration.

- Bob Beadle adjourned the meeting at approximately 2:25 PM.