NC Transmission Planning Collaborative

Planning Work Group (PWG)

Meeting Minutes

August 4, 2009

Raleigh, NC – ElectriCities

10:00 AM – 3:00 PM Eastern

Attendees:

Denise Roeder						ElectriCities

Laura Lee							Duke Energy

Daniel Fain							Duke Energy

Bob Beadle							NCEMC

James Manning						NCEMC

Lee Adams							Progress Energy

Joey West							Progress Energy

Mark Byrd							Progress Energy

Rich Wodyka							Accenture

- ADMINISTRATIVE

- Bob Beadle started the meeting at 10:05 AM.

- The June 8, 2009 PWG meeting minutes were approved.

- Bob Beadle and Rich Wodyka updated the group on the developments at the previous OSC meeting on July 22nd.

- 2009 STUDY-BASE CASE RESULTS REVIEW

- Laura Lee reported that all of the base and base sensitivity cases have been screened but not analyzed yet. Joey West reported that Progress has completed its screening and analysis of the cases. Laura Lee also added that Duke is still working on finalizing the base case results, but would complete them shortly.

- The group discussed whether studying the 1200 MW SCE&G RSO would provide any particularly valuable results given the assumptions in the model related to the VC Summer nuclear plant. Laura Lee clarified that one new VC Summer nuclear unit is included in the case, but not the 3rd unit at VC Summer or the external transmission upgrades, and the status of the interchange to SPSA is unknown In order to make the transfer work, a significant scale-down of the load in the SCE&G area would be required. Based on the discussion, the group agreed that this sensitivity should be excluded from the study. Bob Beadle added that the OSC would need to give its approval, since it had approved the initial study scope and this was a change to the scope. Bob Beadle mentioned that he would bring this item to the OSC during its 8/5/09 conference call and report back to the PWG.

- Laura Lee reported that the remaining items associated with the base case and sensitivity results and screenings included analyzing the differences between the high temperature and normal line for the Caesar 230kV line upgrade project, revising the results to exclude the Pisgah-Asheville 230kV common tower contingency, and evaluating the difference between the Duke Asheville VACAR Reserve Sharing and Progress Energy TRM cases. Joey West asked whether for the western area VACAR reserve sharing cases you could supply VACAR reserves to a neighboring area. Progress Energy also takes 200 MW down in the case, so some coordination with Duke on the differences is still needed.

- Laura Lee agreed that the base case results would be completed before the TAG meeting on 8/27. Best efforts would also be made to complete the Resource Supply Option screenings by the September PWG meeting.

- Joey West added that Progress Energy looks at peak load forecast snapshots and the current review of the overall forecast will also track the growth in certain areas to make sure that the overall numbers don’t hide localized problems.

- Mark Byrd reported that Progress Energy is still looking at a revised load forecast to be issued in the fall (September/October timeframe)

ACTION ITEM: Mark Byrd to report back to the PWG on the results of the fall 2009 load forecast review.

- Mark Byrd also reported that Progress Energy will put together a summary with the loadings on each collaborative project that has been delayed and share it with the PWG, and will look into updates on where the projects stand with regard to their current construction status. Bob Beadle asked whether the right-of-way status for the projects could also be identified. James Manning asked if there would be any major impact on imports to the Progress control area as a result of the delays.

- Bob Beadle asked whether a supplemental study should be considered that would incorporate these changes. Mark Byrd responded that a bigger question was whether we believe the forecast. Rich added that inherent in all of the study results is the perspective that the reader recognize that the results are only as good as the assumptions.

- Mark Byrd reported that the latest load forecast showed almost three times the decrease in the Eastern area (approximately 700 MW drop vs. 200 MW). Mark added that the project date changes still keep them in the 2019 case, so the change in the forecast should have little impact on the 2019 study results.

- AUGUST TAG PRESENTATION

- Bob Beadle went over the TAG presentation sections. Rich clarified that Kendall Bowman (Progress Energy) would probably be presenting section 2, Rich would handle sections 1, 7, & 8, Bob Beadle would present sections 3 & 4, Bob Pierce volunteered to present section 6, and Mark indicated that he would need to confirm Sam Waters’ availability to present section 5.

- Rich Wodyka indicated that the next TAG meeting would probably be on December 17th.

ACTION ITEM: All presenters continue work on drafting their section presentations. Rich agreed to put the sections together and asked presenters to send their portions to him by the end of the day on 8/14/09. All agreed on a conference call on August 18th to finalize the draft presentation in time for review by the OSC prior to its meeting.

- OTHER ITEMS

- Bob Beadle gave a brief overview of the 7/13/09 South Carolina RTP meeting.

ACTION ITEM: Bob Beadle agreed to set up a conference call for August 18th, at 9am.

- Bob Beadle adjourned the meeting at approximately 1:00 PM.