NC Transmission Planning Collaborative

Planning Work Group (PWG)

Meeting Minutes (Draft)

January 7, 2010

Conference Call

10:00 AM – 12:00 PM Eastern

Attendees:

Denise Roeder						ElectriCities

Bob Pierce							Duke Energy

Orvane Piper							Duke Energy

Brian Moss							Duke Energy

Bob Beadle							NCEMC

James Manning						NCEMC

Mark Byrd							Progress Energy

Lee Adams							Progress Energy

Kai Zai							Progress Energy

Rich Wodyka    						Accenture

- ADMINISTRATIVE

- The December 3, 2009 PWG meeting minutes were approved without modification.

- Rich Wodyka updated the group on developments at the 12/9 OSC & TAG meeting.  OSC meeting was primarily related to TAG meeting preparation.  No revisions to the 2009 Study Report have been proposed by the TAG.  The report will be provided to the OSC for final approval and a press release prepared.

- Duke will assign Orvane Piper to replace Laura Lee as a PWG member once approved by the OSC.  Joey West is on temporary rotation to the PEC control center.  Kai Zai will be assisting with PWG work.

ACTION ITEM:  Mark Byrd and Bob Pierce to supply contact information for Orvane and Kai to the PWG.

- 2010 STUDY SCOPE

- The scope document was reviewed and revised.  PEC and Duke are presently performing their annual model updates, including the latest load forecasts and resource projections.  Aspects of the study related to retirement of unscrubbed coal units and off shore wind generation were discussed, with appropriate revisions to the scope document.  The presence of the off shore wind generation will require some modifications to the models to represent the infrastructure associated with bringing the energy onshore.

ACTION ITEM:  Lee Adams and Bob Pierce to develop an exact list of unscrubbed generation to be retired.

ACTION ITEM:  Lee Adams and Bob Pierce to provide 2015S peak load information for determining load ratio share allocation of wind energy to each area.

ACTION ITEM:  Orvane Piper to determine time of day for maximum capacity factor for off shore wind.

ACTION ITEM:  Lee Adams and Bob Pierce to determine off peak load level to be studied based on information from Orvane on time of day for maximum off shore wind capacity factor.

ACTION ITEM:  Mark Byrd to develop a strawman representing the infrastructure associated with bringing the energy onshore.

ACTION ITEM:  All PWG members are to review the revised 2010 Study Scope document and submit any additional revisions by 1/11/10.

- OTHER ITEMS

- Another PJM/NCTPC joint meeting will be scheduled soon.  During the next PWG meeting, topics relating to the NCTPC interface with PJM will be developed for discussion during the next joint meeting.

- Next PWG meeting is scheduled for 2/4/10, 10 AM at the Greensboro Fairfax Operating Center.

ACTION ITEM LOG

| Action Item | Responsibility | Status |
| --- | --- | --- |
| Supply contact information for Kai to the PWG. | Mark Byrd |  |
| Supply contact information for Orvane to the PWG. | Bob Pierce |  |
| Develop an exact list of unscrubbed generation to be retired. | Bob Pierce |  |
| Develop an exact list of unscrubbed generation to be retired. | Lee Adams |  |
| Provide 2015S peak load information for determining load ratio share allocation of wind energy to each area. | Bob Pierce |  |
| Provide 2015S peak load information for determining load ratio share allocation of wind energy to each area. | Lee Adams |  |
| Determine time of day for maximum capacity factor for off shore wind. | Orvane Piper |  |
| Determine off peak load level to be studied based on information from Orvane on time of day for maximum off shore wind capacity factor. | Bob Pierce |  |
| Determine off peak load level to be studied based on information from Orvane on time of day for maximum off shore wind capacity factor. | Lee Adams |  |
| Develop a strawman representing the infrastructure associated with bringing the energy onshore. | Mark Byrd |  |
| Review the revised 2010 Study Scope document and submit any additional revisions by 1/11/10. | All PWG members |  |