NC Transmission Planning Collaborative

Planning Work Group (PWG)

Meeting Minutes

Fairfax Ops Center

May 5, 2010

10:00 AM – 3:00 PM Eastern

Attendees:

Denise Roeder						ElectriCities

Bob Pierce							Duke Energy

Orvane Piper							Duke Energy

Rick Anderson						Fayetteville PWC

James Manning						NCEMC

Kai Zai							Progress Energy

Joey West							Progress Energy

Lee Adams							Progress Energy

Rich Wodyka    						Accenture

- ADMINISTRATIVE

- The April 12, 2010 PWG meeting minutes were approved with slight editorial modifications.

- Rich Wodyka updated the group on the 4/19/10 OSC meeting.

- The 2010 Work Plan was reviewed.  We are slightly behind schedule, but should be able to catch up in the next month.

- The action item status was reviewed and updated – see attached.

- TAG meetings are tentatively scheduled for 9/21/10 and 12/16/10.

- 2010 STUDY

- The base models for 2015S, 2015W and 2020S have been developed.  Interchange related to the City of Seneca’s change to SOCO as their resource has been coordinated.  The PJM market model has not yet been made available.  Will continue on without it.  If the model is provided the PWG will evaluate further action depending on the significance of the change in flows between the two models.  Initial screening of the models can then begin once PJM’s project idevs have been incorporated into the model.  Screening work should begin the week of May 17th including development of PEC’s TRM cases.

- Wind generation models can be developed from the base cases.  The process will be iterative between PEC and Duke, with inclusion of the wind generation and strawman transmission infrastructure then modification of interchange and dispatch to accommodate the wind energy.  Each area will have to verify correct dispatch in the resulting base models.

ACTION ITEM:  Joey West and Orvane Piper will create the wind generation models and verify correct dispatch.

- Following development of the wind generation models, work will begin on the models for evaluation of the impact of the retirement of unscrubbed fossil generation and the Enhanced Access Requests.

- TAG PRESENTATION

- The TAG presentation was reviewed and revised.

- OTHER ITEMS

- Discussed latest information on the FERC March 18th Orders and NOPR’s and the industry responses from NERC and EEI.

- Discussed FERC’s proposed BES definition, the potential impact on Transmission Owners and the connection to what standards are applicable to entities.

- Next PWG meeting is scheduled for 6/15/10, 10 AM at the Greensboro Fairfax Operating Center.

ACTION ITEM LOG

| Action Item | Responsibility | Status |
| --- | --- | --- |
| Supply contact information for Kai to the PWG. | Mark Byrd | Complete |
| Supply contact information for Orvane to the PWG. | Bob Pierce | Complete |
| Develop an exact list of unscrubbed generation to be retired. | Bob Pierce | Complete |
| Develop an exact list of unscrubbed generation to be retired. | Lee Adams | Complete |
| Provide 2015S peak load information for determining load ratio share allocation of wind energy to each area. | Bob Pierce | Complete |
| Provide 2015S peak load information for determining load ratio share allocation of wind energy to each area. | Lee Adams | Complete |
| Determine time of day for maximum capacity factor for off shore wind. | Orvane Piper | Complete |
| Determine off peak load level to be studied based on information from Orvane on time of day for maximum off shore wind capacity factor. | Bob Pierce | Complete |
| Determine off peak load level to be studied based on information from Orvane on time of day for maximum off shore wind capacity factor. | Lee Adams | Complete |
| Develop a strawman representing the infrastructure associated with bringing the energy onshore. | Mark Byrd | Complete |
| Review the revised 2010 Study Scope document and submit any additional revisions by 1/11/10. | All PWG members | Complete |
| Contact Duke University graduate student to discuss 2010 Study. | Bob Pierce | Complete |
| Coordinate interchange for models. | Lee Adams Orvane Piper | Complete |
| PEC will evaluate the strawman to develop changes so that N-1 criteria are met. | Mark Byrd | Complete |
| Comment on the PEC strawman proposal. | All PWG members | Complete |
| Update the Work Plan to account for the Southern Power Enhanced Access Request. | Rich Wodyka Orvane Piper | Complete |
| Send the interchange tables to all PWG members. | Orvane Piper | Complete |
| Review the interchange table for accuracy. | All PWG members | Complete |
| Exchange load duration curve data and determine the specific load level in each area for modeling in the off peak case. | Mark Byrd Bob Pierce | Complete |
| Provide PEC models and contingency files to Orvane Piper for compiling joint models and contingency file. | Joey West |  |
| Begin screening of joint models. | Joey West Orvane Piper |  |
| Develop PEC TRM cases and provide to Orvane Piper for screening. | Joey West |  |
| Contact PJM for market dispatch information and idevs for update of MAPP and PATH projects which have been delayed. | James Manning | Complete |
| Send revised interchange tables to all PWG members for review. | Orvane Piper | Complete |
| Create off peak case. | Orvane Piper |  |
| Provide idevs for placing infrastructure identified in the strawman in the models. | Joey West |  |
| Create wind generation models and verify correct dispatch. | Joey West Orvane Piper |  |