NC Transmission Planning Collaborative

Planning Work Group (PWG)

Meeting Minutes

Conference Call

August 9, 2010

10:00 AM – 12:00 PM Eastern

Attendees:

Denise Roeder						ElectriCities

Bob Pierce							Duke Energy

Orvane Piper							Duke Energy

Bob Beadle							NCEMC

James Manning						NCEMC

Joey West							Progress Energy

Mark Byrd							Progress Energy

Kai Zai							Progress Energy

Lee Adams							Progress Energy

Rich Wodyka    						Accenture

- ADMINISTRATIVE

- The July 12, 2010 PWG meeting minutes were approved with a modification regarding the wind study strawman.

- Rich Wodyka updated the group on the 7/22/10 OSC meeting.

- The 2010 Work Plan was reviewed.  The PWG is on schedule or may be slightly ahead of schedule.

- The action item status was reviewed and updated – see attached.

- 2010 STUDY

- Reviewed Duke & PEC re-run of Cleveland County to CPLE (TRM with Brunswick 1 down) Enhanced Access request to examine the impact of the third Lilesville to Rockingham 230 kV line.  No new issues were identified.

- Reviewed Duke & PEC Wind Study re-run screening results (problem with interchange).  No new issues were identified.

- Reviewed PEC evaluation of maximum firm wind energy under the S1 scenario.  The S1 scenario can accommodate additional MW’s of off peak wind capacity with the addition of a new line from New Bern to Greenville at a cost of ~ $80 M.  Evaluation of the S1 scenario raised the possibility of removing the 500 kV infrastructure at a significant cost savings, but also additional need for wind curtailment.  Evaluation of S2 scenarios with reduced generation may also indicate additional ways to reduce infrastructure cost.

ACTION ITEM:  Joey West to evaluate additional wind generation S1 scenarios without the 500 kV infrastructure removed and the additional 230 kV line from New Bern to Greenville.

ACTION ITEM:  Joey West to evaluate reduced S2 wind generation scenarios for additional ways to reduce infrastructure costs.

- 2010 Report Draft Preparation

Rich provided a draft outline for the report.  An additional section will be added to cover the enhanced access requests that were studied this year.  Assignments were made for preparing each section of the report.

ACTION ITEM:  Rich Wodyka will send out the draft body of the report so that sections of the report can begin to be edited.

- OTHER ITEMS

- Discussed preparation for the 9/21 TAG meeting and made assignments for PWG presentations.

- Discussed TPL-001-1 Webex on 9/10.

- Next meeting will be a conference call on 9/7/10

ACTION ITEM LOG

| Action Item | Responsibility | Status |
| --- | --- | --- |
| Rerun the Cleveland County to CPLE 1000 MW enhanced access scenario to examine the impact of the third Lilesville to Rockingham 230 kV line. | Orvane Piper Joey West | COMPLETE |
| Evaluate the maximum amount of firm energy that can be delivered from the coast in the S1 scenario considering curtailment of wind with the modeled infrastructure. | Joey West | COMPLETE |
| Check on peak wind model interchange and re-run screening if necessary. | Orvane Piper | COMPLETE |
| Provide brief descriptions for the changes to the 2009 Collaborative Plan for posting with the updated plan. | Joey West Bob Pierce | COMPLETE |
| Evaluate additional wind generation S1 scenarios without the 500 kV infrastructure removed and the additional 230 kV line from New Bern to Greenville. | Joey West |  |
| Evaluate reduced S2 wind generation scenarios for additional ways to reduce infrastructure costs. | Joey West |  |
| Send the draft body of the report so that sections of the report can begin to be edited. | Rich Wodyka |  |

ARCHIVED ACTION ITEM LOG (7/12/10)

| Action Item | Responsibility | Status |
| --- | --- | --- |
| Supply contact information for Kai to the PWG. | Mark Byrd | Complete |
| Supply contact information for Orvane to the PWG. | Bob Pierce | Complete |
| Develop an exact list of unscrubbed generation to be retired. | Bob Pierce | Complete |
| Develop an exact list of unscrubbed generation to be retired. | Lee Adams | Complete |
| Provide 2015S peak load information for determining load ratio share allocation of wind energy to each area. | Bob Pierce | Complete |
| Provide 2015S peak load information for determining load ratio share allocation of wind energy to each area. | Lee Adams | Complete |
| Determine time of day for maximum capacity factor for off shore wind. | Orvane Piper | Complete |
| Determine off peak load level to be studied based on information from Orvane on time of day for maximum off shore wind capacity factor. | Bob Pierce | Complete |
| Determine off peak load level to be studied based on information from Orvane on time of day for maximum off shore wind capacity factor. | Lee Adams | Complete |
| Develop a strawman representing the infrastructure associated with bringing the energy onshore. | Mark Byrd | Complete |
| Review the revised 2010 Study Scope document and submit any additional revisions by 1/11/10. | All PWG members | Complete |
| Contact Duke University graduate student to discuss 2010 Study. | Bob Pierce | Complete |
| Coordinate interchange for models. | Lee Adams Orvane Piper | Complete |
| PEC will evaluate the strawman to develop changes so that N-1 criteria are met. | Mark Byrd | Complete |
| Comment on the PEC strawman proposal. | All PWG members | Complete |
| Update the Work Plan to account for the Southern Power Enhanced Access Request. | Rich Wodyka Orvane Piper | Complete |
| Send the interchange tables to all PWG members. | Orvane Piper | Complete |
| Review the interchange table for accuracy. | All PWG members | Complete |
| Exchange load duration curve data and determine the specific load level in each area for modeling in the off peak case. | Mark Byrd Bob Pierce | Complete |
| Provide PEC models and contingency files to Orvane Piper for compiling joint models and contingency file. | Joey West | Complete |
| Begin screening of joint models. | Joey West Orvane Piper | Complete |
| Develop PEC TRM cases and provide to Orvane Piper for screening. | Joey West | Complete |
| Contact PJM for market dispatch information and idevs for update of MAPP and PATH projects which have been delayed. | James Manning | Complete |
| Send revised interchange tables to all PWG members for review. | Orvane Piper | Complete |
| Coordinate interchange for the off peak wind generation model and verify correct dispatch. | Joey West Orvane Piper James Manning Denise Roeder | Complete |
| Create off peak case. | Orvane Piper | Complete |
| Provide idevs for placing infrastructure identified in the strawman in the models. | Joey West | Complete |
| Create wind generation models and verify correct dispatch. | Joey West Orvane Piper | Complete |
| Evaluate the configuration at Pisgah, the facility ratings and the appropriate operating procedure following a bank failure. | Joey West Orvane Piper | Complete |
| Coordinate dispatch and finalize Enhanced Access Request cases. | Joey West Orvane Piper | Complete |