2007 Supplemental Report

Appendix D

Interchange Tables

DRAFT - April 24, 2008

Interchange Table

| Study Cases |  | Interchange / Progress West TRM Interchange |  |  |
| --- | --- | --- | --- | --- |
|  |  | Duke | Progress East | Progress West |
| 2011-12 Winter | Base | 199 / 385 | -951 / -951 | -487 / -693 |
| 2011-12 Winter | 100 MW from Duke (2010 West Import) | 299 / 485 | -951 / -951 | -587 / -793 |
| 2011-12 Winter | 100 MW from Southern (2011 West Import) | 199 / 385 | -951 / -951 | -587 / -793 |
| 2012 Summer | Base | -516 / -330 | -942 / -942 | -457 / -693 |
| 2012 Summer | 100 MW from Duke (2010 West Import) | -416 / -230 | -942 / -942 | -587 / -793 |
| 2012 Summer | 100 MW from Southern (2011 West Import) | -516 / -330 | -942 / -942 | -587 / -793 |
| 2015-16 Winter | Base | -117 / 69 | -848 / -848 | -587 / -793 |
| 2016 Summer | Base | -922 / -736 | -840 / -840 | -587 / -793 |

Notes:

### Positive interchange indicates a net export and negative interchange a net import.

### The first number in each column is the planned interchange.  The second number is the planned interchange adjusted for the additional Progress West imports (see Note 3) needed to create the Progress West TRM cases.

### In Progress West TRM cases, Progress West imports an additional 186 MW from Duke and 20 MW from AEP.